## DETAILED BREAKDOWN
Project Name: |  |  | Commercial |  |  | Address:
[12 empty] | DATE | 2026-05-11
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | Units | Unit Cost of Material | Unit Cost of Labor | Total Cost of Material | Total Cost of Labor | TOTAL COST | TRADE TOTAL
|  | 1000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Scaffolding | 14915 | 0% | 14915 | SF | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [9 empty] | 0
|  | 2 | DIVISION 02- EXISTING CONDITION
Demolition
7 | A1 |  | Misc. Site Removal as Required (12612 SF) - Existing Structure, Pavement, Concrete Work, Landscape etc. | 1 | 0% | 1 | LS | 75000 | 55000 | 75000 | 55000 | 130000
Site
8 | A1 |  | Concrete Driveway - Compacted Gravel - Compacted Earth | 985 | 5% | 1034.25 | SF | 10.15 | 8.75 | 10497.6375 | 9049.6875 | 19547.325
9 |  |  | Concrete Pedestrian Walkway - Compacted Gravel - Compacted Earth | 1390 | 5% | 1459.5 | SF | 9.45 | 8.05 | 13792.275 | 11748.975 | 25541.25
Trash Enclosure
10 | A1 |  | Concrete Trash Enclosure Pad - Compacted Gravel - Compacted Earth | 90 | 5% | 94.5 | SF | 10.5 | 9.1 | 992.25 | 859.95 | 1852.2
11 |  |  | (8") Reinforced CMU Block Wall w/ Wall Cap (30 LF) | 240 | 5% | 252 | SF | 29.4 | 26.6 | 7408.8 | 6703.2 | 14112
12 |  |  | (6'-0"x7'-0") Metal Door Type E & Frame Incl. Hardware | 1 | 0% | 1 | EA | 2660 | 1680 | 2660 | 1680 | 4340
Recycling Enclosure
13 | A1 |  | Concrete Trash Enclosure Pad - Compacted Gravel - Compacted Earth | 90 | 5% | 94.5 | SF | 10.5 | 9.1 | 992.25 | 859.95 | 1852.2
14 |  |  | (8") Reinforced CMU Block Wall w/ Wall Cap (30 LF) | 240 | 5% | 252 | SF | 29.4 | 26.6 | 7408.8 | 6703.2 | 14112
15 |  |  | (6'-0"x7'-0") Metal Door Type E & Frame Incl. Hardware | 1 | 0% | 1 | EA | 2660 | 1680 | 2660 | 1680 | 4340
Site Furnishing
16 | A1 |  | 8'0"H Decorative Fence - Incl. Colum/Post Footings | 384 | 5% | 403.2 | LF | 66.5 | 49 | 26812.8 | 19756.8 | 46569.6
17 |  |  | 1'6"Wx6'8"L Fixed Outdoor Seating Bench | 8 | 0% | 8 | EA | 1540 | 525 | 12320 | 4200 | 16520
Drainage
18 | A1 |  | (4") Drain Pipe | 262 | 5% | 275.1 | LF | 12.6 | 15.4 | 3466.26 | 4236.54 | 7702.8
19 |  |  | C.I. Downspout Boot Hub | 8 | 0% | 8 | EA | 315 | 245 | 2520 | 1960 | 4480
Grading
20 | A1 |  | Rough Grading (Lot Size= 12612 SF) | 1 | 0% | 1 | LS | 6650 | 8750 | 6650 | 8750 | 15400
Landscape
Tree
21 | A1 |  | 24" Box Tree Cerces Occicentalis | 10 | 0% | 10 | EA | 875 | 455 | 8750 | 4550 | 13300
Ground Covers
22 | A1 |  | Lawn Area | 1890 | 5% | 1984.5 | SF | 1.575 | 1.225 | 3125.5875 | 2431.0125 | 5556.6
23 |  |  | SOD | 1890 | 5% | 1984.5 | SF | 2.45 | 1.75 | 4862.025 | 3472.875 | 8334.9
Irrigation
24 | A1 |  | Misc. Irrigation System - Landscape Area= 1890 SF | 1 | 0% | 1 | LS | 4760 | 3640 | 4760 | 3640 | 8400
Earthwork
25 | A1 |  | Trenching | 72.7778 | 10% | 80.0556 | CY | 26.6 | 29.4 | 2129.4778 | 2353.6333 | 4483.1111
26 |  |  | Excavation @ Footing | 417.9259 | 10% | 459.7185 | CY | 22.4 | 33.6 | 10297.6948 | 15446.5422 | 25744.237
27 |  |  | Backfilling @ Footing | 315.2319 | 10% | 346.755 | CY | 16.8 | 21 | 5825.4846 | 7281.8558 | 13107.3404
28 |  |  | Hauling | 175.4719 | 10% | 193.019 | CY | 19.6 | 25.2 | 3783.1731 | 4864.0797 | 8647.2529
|  |  | Subtotal | [9 empty] | 393942.8164
|  | 3 | DIVISION 03- CONCRETE
Foundation
Continuous Footing
29 | A4 |  | (18"x36") Continuous Exterior Footing (384 LF) -Reinforcement | 64 | 5% | 67.2 | CY | 227.5 | 332.5 | 15288 | 22344 | 37632
30 |  |  | (18"x36") Continuous Interior Load Bearing Wall Footing (290 LF) -Reinforcement | 48.3333 | 5% | 50.75 | CY | 227.5 | 332.5 | 11545.625 | 16874.375 | 28420
Continuous Concrete Stem Wall
31 | A4 |  | (8"Thick x 3'0"H) Continuous Exterior Stem Wall (384 LF) -Reinforcement | 28.5867 | 5% | 30.016 | CY | 294 | 476 | 8824.704 | 14287.616 | 23112.32
32 |  |  | (8"Thick x 3'0"H) Continuous Interior Stem Wall (290 LF) -Reinforcement | 21.5889 | 5% | 22.6683 | CY | 294 | 476 | 6664.49 | 10790.1267 | 17454.6167
Elevator Shaft/Pit
33 | A4 |  | (18")Thick Concrete Pit Raft (70 SF) -Reinforcement | 3.8889 | 5% | 4.0833 | CY | 455 | 595 | 1857.9167 | 2429.5833 | 4287.5
34 |  |  | (12"Thickx4'0"H) Concrete Wall (30 LF) -Reinforcement | 4.4444 | 5% | 4.6667 | CY | 507.5 | 647.5 | 2368.3333 | 3021.6667 | 5390
Slab
35 | A4 |  | (6" Thick) Concrete Slab On Grade (8835 SF) -W/ WWF -10 MIL Poly Vapor Barrier | 163.6111 | 5% | 171.7917 | CY | 199.5 | 255.5 | 34272.4375 | 43892.7708 | 78165.2083
|  |  | Subtotal | [9 empty] | 194461.645
|  | 4 | DIVISION 04- MASONRY
Veneer
Stone Veneer
36 | A10 |  | Stone Veneer - Color: Grey Rustic | 327 | 5% | 343.35 | SF | 22.4 | 18.2 | 7691.04 | 6248.97 | 13940.01
37 |  |  | Stone Veneer - Color: Snow | 222 | 5% | 233.1 | SF | 23.8 | 18.9 | 5547.78 | 4405.59 | 9953.37
38 |  |  | Stone Veneer Around Planter Wall - Assumed, VIF | 2671.76 | 5% | 2805.348 | SF | 20.3 | 16.8 | 56948.5644 | 47129.8464 | 104078.4108
|  |  | Subtotal | [9 empty] | 127971.7908
|  | 5 | DIVISION 05- METALS
Ground Level Floor
Metal Fabrications
39 | A4 |  | 3'0"H Stair Guard Railing | 31.22 | 5% | 32.781 | LF | 59.5 | 49 | 1950.4695 | 1606.269 | 3556.7385
40 |  |  | Metal Wall Mounted Hand Stair Rail | 38 | 5% | 39.9 | LF | 45.5 | 38.5 | 1815.45 | 1536.15 | 3351.6
Hardware
41 | A4 |  | Misc. Hardware - Holdown, Hanger, Ties, Bolt, Anchor, Straps etc. | 1 | 0% | 1 | LS | 3150 | 2240 | 3150 | 2240 | 5390
First Level Floor
Metal Fabrications
42 | A5 |  | Metal Wall Mounted Hand Stair Rail | 38 | 5% | 39.9 | LF | 45.5 | 38.5 | 1815.45 | 1536.15 | 3351.6
43 |  |  | 3'6"H Interior Decorative Railing | 177 | 5% | 185.85 | LF | 101.5 | 77 | 18863.775 | 14310.45 | 33174.225
44 |  |  | 3'6"H Exterior Decorative Railing | 22 | 5% | 23.1 | LF | 115.5 | 87.5 | 2668.05 | 2021.25 | 4689.3
45 |  |  | 4'0"H Exterior Decorative Railing | 13 | 5% | 13.65 | LF | 126 | 94.5 | 1719.9 | 1289.925 | 3009.825
Hardware
46 | A5 |  | Misc. Hardware - Holdown, Hanger, Ties, Bolt, Anchor, Straps etc. | 1 | 0% | 1 | LS | 3150 | 2240 | 3150 | 2240 | 5390
Second Level Floor
Metal Fabrications
47 | A6 |  | Metal Wall Mounted Hand Stair Rail | 38 | 5% | 39.9 | LF | 45.5 | 38.5 | 1815.45 | 1536.15 | 3351.6
48 |  |  | 3'6"H Interior Decorative Railing | 177 | 5% | 185.85 | LF | 101.5 | 77 | 18863.775 | 14310.45 | 33174.225
49 |  |  | 3'6"H Exterior Decorative Railing | 22 | 5% | 23.1 | LF | 115.5 | 87.5 | 2668.05 | 2021.25 | 4689.3
50 |  |  | 4'0"H Exterior Decorative Railing | 13 | 5% | 13.65 | LF | 126 | 94.5 | 1719.9 | 1289.925 | 3009.825
51 |  |  | 3'6"H Exterior Railing at Roof | 118 | 5% | 123.9 | LF | 122.5 | 91 | 15177.75 | 11274.9 | 26452.65
Hardware
52 | A6 |  | Misc. Hardware - Holdown, Hanger, Ties, Bolt, Anchor, Straps etc. | 1 | 0% | 1 | LS | 3150 | 2240 | 3150 | 2240 | 5390
Third Level Floor
Metal Fabrications
53 | A7 |  | Metal Wall Mounted Hand Stair Rail | 38 | 5% | 39.9 | LF | 45.5 | 38.5 | 1815.45 | 1536.15 | 3351.6
54 |  |  | 3'6"H Interior Decorative Railing | 52 | 5% | 54.6 | LF | 101.5 | 77 | 5541.9 | 4204.2 | 9746.1
55 |  |  | 3'6"H Exterior Decorative Railing | 22 | 5% | 23.1 | LF | 115.5 | 87.5 | 2668.05 | 2021.25 | 4689.3
56 |  |  | 4'0"H Exterior Decorative Railing | 13 | 5% | 13.65 | LF | 126 | 94.5 | 1719.9 | 1289.925 | 3009.825
57 |  |  | 4'0"H Exterior Railing at Roof | 113.18 | 5% | 118.839 | LF | 129.5 | 98 | 15389.6505 | 11646.222 | 27035.8725
Hardware
58 | A7 |  | Misc. Hardware - Holdown, Hanger, Ties, Bolt, Anchor, Straps etc. | 1 | 0% | 1 | LS | 3150 | 2240 | 3150 | 2240 | 5390
|  |  | Subtotal | [9 empty] | 191203.586
|  | 6 | DIVISION 06- WOOD, PLASTIC & COMPOSITES
First Floor
59 | A4 |  | Misc. Wood Blocking - for Framing, Wall mounted items etc. | 1 | 0% | 1 | LS | 3360 | 2520 | 3360 | 2520 | 5880
Beam
60 | A4 |  | 2-2x10 Beam | 178 | 5% | 186.9 | LF | 19.6 | 16.8 | 3663.24 | 3139.92 | 6803.16
Stair Framing
61 | A4 |  | 2-2x10 Landing Beam | 33.4 | 5% | 35.07 | LF | 18.2 | 16.8 | 638.274 | 589.176 | 1227.45
62 |  |  | 2x8 Landing Joist @ 16" O.C (67 SF) | 50 | 5% | 52.5 | LF | 8.4 | 7.7 | 441 | 404.25 | 845.25
63 |  |  | 11"W Plywood Stair Tread @ 4'0'L | 26 | 0% | 26 | EA | 59.5 | 45.5 | 1547 | 1183 | 2730
64 |  |  | 7"H Plywood Stair Riser @ 4'0'L | 30 | 0% | 30 | EA | 26.6 | 22.4 | 798 | 672 | 1470
65 |  |  | 3'6"H Stair guard Rail @ 4'0'L | 31 | 0% | 31 | EA | 101.5 | 77 | 3146.5 | 2387 | 5533.5
66 |  |  | 2'x12 Shaped Stinger | 90 | 5% | 94.5 | LF | 12.6 | 11.2 | 1190.7 | 1058.4 | 2249.1
Joists
67 | A4 |  | 2x10 Joists @ 16" O.C. (8150 SF) | 6055 | 5% | 6357.75 | LF | 5.95 | 5.25 | 37828.6125 | 33378.1875 | 71206.8
Sheathing
68 | A4 |  | (3/4") T&G Plywood APA Rated Sheathing | 8217 | 5% | 8627.85 | SF | 2.695 | 2.065 | 23252.0557 | 17816.5102 | 41068.566
Second Floor
69 | A4 |  | Misc. Wood Blocking - for Framing, Wall mounted items etc. | 1 | 0% | 1 | LS | 3360 | 2520 | 3360 | 2520 | 5880
Beam
70 | A5 |  | 2-2x10 Beam | 178 | 5% | 186.9 | LF | 19.6 | 16.8 | 3663.24 | 3139.92 | 6803.16
Stair Framing
71 | A5 |  | 2-2x10 Landing Beam | 33.4 | 5% | 35.07 | LF | 18.2 | 16.8 | 638.274 | 589.176 | 1227.45
72 |  |  | 2x8 Landing Joist @ 16" O.C (67 SF) | 50 | 5% | 52.5 | LF | 8.4 | 7.7 | 441 | 404.25 | 845.25
73 |  |  | 11"W Plywood Stair Tread @ 4'0'L | 26 | 0% | 26 | EA | 59.5 | 45.5 | 1547 | 1183 | 2730
74 |  |  | 7"H Plywood Stair Riser @ 4'0'L | 30 | 0% | 30 | EA | 26.6 | 22.4 | 798 | 672 | 1470
75 |  |  | 3'6"H Stair guard Rail @ 4'0'L | 31 | 0% | 31 | EA | 101.5 | 77 | 3146.5 | 2387 | 5533.5
76 |  |  | 2'x12 Shaped Stinger | 90 | 5% | 94.5 | LF | 12.6 | 11.2 | 1190.7 | 1058.4 | 2249.1
Joists
77 | A5 |  | 2x10 Joists @ 16" O.C. (6548 SF) | 4978 | 5% | 5226.9 | LF | 5.95 | 5.25 | 31100.055 | 27441.225 | 58541.28
Sheathing
78 | A5 |  | (3/4") T&G Plywood APA Rated Sheathing | 6615 | 5% | 6945.75 | SF | 2.695 | 2.065 | 18718.7962 | 14342.9737 | 33061.77
Third Floor
79 | A5 |  | Misc. Wood Blocking - for Framing, Wall mounted items etc. | 1 | 0% | 1 | LS | 2450 | 1960 | 2450 | 1960 | 4410
Beam
80 | A6 |  | 2-2x10 Beam | 61 | 5% | 64.05 | LF | 19.6 | 16.8 | 1255.38 | 1076.04 | 2331.42
Stair Framing
81 | A6 |  | 2-2x10 Landing Beam | 16.5 | 5% | 17.325 | LF | 18.2 | 16.8 | 315.315 | 291.06 | 606.375
82 |  |  | 2x8 Landing Joist @ 16" O.C (34 SF) | 25 | 5% | 26.25 | LF | 8.4 | 7.7 | 220.5 | 202.125 | 422.625
83 |  |  | 11"W Plywood Stair Tread @ 4'0'L | 13 | 0% | 13 | EA | 59.5 | 45.5 | 773.5 | 591.5 | 1365
84 |  |  | 7"H Plywood Stair Riser @ 4'0'L | 15 | 0% | 15 | EA | 26.6 | 22.4 | 399 | 336 | 735
85 |  |  | 3'6"H Stair guard Rail @ 4'0'L | 15.5 | 0% | 15.5 | EA | 101.5 | 77 | 1573.25 | 1193.5 | 2766.75
86 |  |  | 2'x12 Shaped Stinger | 45 | 5% | 47.25 | LF | 12.6 | 11.2 | 595.35 | 529.2 | 1124.55
Joists
87 | A6 |  | 2x10 Joists @ 16" O.C. (1985 SF) | 1498 | 5% | 1572.9 | LF | 5.95 | 5.25 | 9358.755 | 8257.725 | 17616.48
Sheathing
88 | A6 |  | (3/4") T&G Plywood APA Rated Sheathing | 2019 | 5% | 2119.95 | SF | 2.695 | 2.065 | 5713.2653 | 4377.6968 | 10090.962
Roof Framing
89 | A6 |  | Misc. Wood Blocking - for Framing, Wall mounted items etc. | 1 | 0% | 1 | LS | 2940 | 2380 | 2940 | 2380 | 5320
Beam
90 | A7 |  | 2-2x10 Beam | 178 | 5% | 186.9 | LF | 19.6 | 16.8 | 3663.24 | 3139.92 | 6803.16
Joists
91 | A7 |  | 2x10 Roof Joists @ 16" O.C. (8235 SF) | 6085 | 5% | 6389.25 | LF | 6.3 | 5.6 | 40252.275 | 35779.8 | 76032.075
Trim
Ground Level Floor
92 | A4 |  | Door Trim | 1550 | 5% | 1627.5 | LF | 3.325 | 3.675 | 5411.4375 | 5981.0625 | 11392.5
93 |  |  | Window Trim | 663 | 5% | 696.15 | LF | 3.85 | 4.2 | 2680.1775 | 2923.83 | 5604.0075
94 |  |  | Window Sill w/ Apron | 182 | 5% | 191.1 | LF | 5.95 | 5.25 | 1137.045 | 1003.275 | 2140.32
First Floor Level
95 | A5 |  | Door Trim | 1930 | 5% | 2026.5 | LF | 3.325 | 3.675 | 6738.1125 | 7447.3875 | 14185.5
96 |  |  | Window Trim | 670 | 5% | 703.5 | LF | 3.85 | 4.2 | 2708.475 | 2954.7 | 5663.175
97 |  |  | Window Sill w/ Apron | 191 | 5% | 200.55 | LF | 5.95 | 5.25 | 1193.2725 | 1052.8875 | 2246.16
Second Floor Level
98 | A6 |  | Door Trim | 1548 | 5% | 1625.4 | LF | 3.325 | 3.675 | 5404.455 | 5973.345 | 11377.8
99 |  |  | Window Trim | 582 | 5% | 611.1 | LF | 3.85 | 4.2 | 2352.735 | 2566.62 | 4919.355
100 |  |  | Window Sill w/ Apron | 167 | 5% | 175.35 | LF | 5.95 | 5.25 | 1043.3325 | 920.5875 | 1963.92
Third Floor Level
101 | A7 |  | Door Trim | 495 | 5% | 519.75 | LF | 3.325 | 3.675 | 1728.1687 | 1910.0812 | 3638.25
102 |  |  | Window Trim | 176 | 5% | 184.8 | LF | 3.85 | 4.2 | 711.48 | 776.16 | 1487.64
103 |  |  | Window Sill w/ Apron | 59 | 5% | 61.95 | LF | 5.95 | 5.25 | 368.6025 | 325.2375 | 693.84
|  |  | Subtotal | [9 empty] | 452292.2005
|  | 7 | DIVISION 07- THERMAL & MOISTURE PROTECTION
Roofing
104 | A7 |  | Mechanically-Fastened TPO Roof Membrane Class A Built-Up Roofing | 7984 | 5% | 8383.2 | SF | 4.375 | 4.025 | 36676.5 | 33742.38 | 70418.88
105 |  |  | 1/2" Cover Board | 7984 | 5% | 8383.2 | SF | 1.365 | 1.155 | 11443.068 | 9682.596 | 21125.664
106 |  |  | 2 Layers Polyisocyanurate Rigid Insulation R-38 - Tapered Rigid Polyisocyanurate | 7984 | 5% | 8383.2 | SF | 4.095 | 2.765 | 34329.204 | 23179.548 | 57508.752
107 |  |  | (5/8") Coated Glass Faced Gypsum Coverboard | 7984 | 5% | 8383.2 | SF | 1.715 | 1.365 | 14377.188 | 11443.068 | 25820.256
107 |  |  | TPO Roof Membrane Class A Up & Over | 966.88 | 5% | 1015.224 | SF | 5.25 | 4.55 | 5329.926 | 4619.2692 | 9949.1952
108 |  |  | Pedestal Paver System | 6005 | 5% | 6305.25 | SF | 12.95 | 10.15 | 81652.9875 | 63998.2875 | 145651.275
109 |  |  | Metal Gutter | 230 | 5% | 241.5 | LF | 19.6 | 16.8 | 4733.4 | 4057.2 | 8790.6
110 |  |  | Metal Downspout (8 EA) | 227 | 5% | 238.35 | LF | 16.8 | 15.4 | 4004.28 | 3670.59 | 7674.87
111 |  |  | Scupper w/ Overflow Scupper | 8 | 0% | 8 | EA | 385 | 297.5 | 3080 | 2380 | 5460
Flashing
112 | A7 |  | Skylight Curb Flashing | 179 | 5% | 187.95 | LF | 16.8 | 14.7 | 3157.56 | 2762.865 | 5920.425
113 |  |  | Metal Drip Edge | 325 | 5% | 341.25 | LF | 9.8 | 7.7 | 3344.25 | 2627.625 | 5971.875
Stucco
114 | A10 |  | 7/8" Thick Stucco System over Paper Wire Mesh | 10090 | 5% | 10594.5 | SF | 5.25 | 5.95 | 55621.125 | 63037.275 | 118658.4
115 |  |  | Weep Screed | 505 | 5% | 530.25 | LF | 4.55 | 3.85 | 2412.6375 | 2041.4625 | 4454.1
Weather Barrier
116 | A10 |  | Weather Barrier Behind Stucco | 10090 | 5% | 10594.5 | SF | 0.945 | 0.805 | 10011.8025 | 8528.5725 | 18540.375
117 |  |  | Weather Barrier Behind Stone Veneer | 549 | 5% | 576.45 | SF | 1.155 | 0.945 | 665.7997 | 544.7453 | 1210.545
Waterproofing
118 | A4-A7 |  | Waterproofing inside Planter over Roof | 3359 | 5% | 3526.95 | SF | 3.675 | 3.325 | 12961.5413 | 11727.1087 | 24688.65
119 |  |  | Waterproofing at Foundation | 1149 | 5% | 1206.45 | SF | 3.15 | 2.8 | 3800.3175 | 3378.06 | 7178.3775
120 |  |  | Waterproofing at Tile | 4454.75 | 5% | 4677.4875 | SF | 3.395 | 3.045 | 15880.0701 | 14242.9494 | 30123.0195
|  |  | Subtotal | [9 empty] | 569145.2592
|  | 8 | DIVISION 08- OPENINGS
Doors
Ground Level Floor
121 | A4 |  | (3'-0"x6'-8") Wood Door Type A & Wood Frame Incl. Hardware | 11 | 0% | 11 | EA | 595 | 455 | 6545 | 5005 | 11550
122 |  |  | (2'-8"x6'-8") Wood Door Type B & Wood Frame Incl. Hardware | 30 | 0% | 30 | EA | 546 | 434 | 16380 | 13020 | 29400
123 |  |  | (3'-0"x7'-0") Metal Louvered Door Type C & Metal Frame Incl. Hardware | 3 | 0% | 3 | EA | 1295 | 875 | 3885 | 2625 | 6510
124 |  |  | (3'-0"x7'-6") Vinyl Glass Door Type D & Frame Incl. Hardware | 2 | 0% | 2 | EA | 1680 | 1120 | 3360 | 2240 | 5600
125 |  |  | (21'-0"x7'-6") Vinyl Glass Storefront w/ Door Type F Incl. Hardware | 1 | 0% | 1 | EA | 12950 | 6650 | 12950 | 6650 | 19600
126 |  |  | (5'-0"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 20 | 0% | 20 | EA | 805 | 455 | 16100 | 9100 | 25200
First Floor Level
127 | A5 |  | (3'-0"x6'-8") Wood Door Type A & Wood Frame Incl. Hardware | 12 | 0% | 12 | EA | 595 | 455 | 7140 | 5460 | 12600
128 |  |  | (2'-8"x6'-8") Wood Door Type B & Wood Frame Incl. Hardware | 32 | 0% | 32 | EA | 546 | 434 | 17472 | 13888 | 31360
129 |  |  | (4'-6"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 2 | 0% | 2 | EA | 735 | 434 | 1470 | 868 | 2338
130 |  |  | (5'-0"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 20 | 0% | 20 | EA | 805 | 455 | 16100 | 9100 | 25200
Second Floor Level
131 | A6 |  | (3'-0"x6'-8") Wood Door Type A & Wood Frame Incl. Hardware | 8 | 0% | 8 | EA | 595 | 455 | 4760 | 3640 | 8400
132 |  |  | (2'-8"x6'-8") Wood Door Type B & Wood Frame Incl. Hardware | 26 | 0% | 26 | EA | 546 | 434 | 14196 | 11284 | 25480
133 |  |  | (3'-0"x7'-6") Vinyl Glass Door Type D & Frame Incl. Hardware | 2 | 0% | 2 | EA | 1680 | 1120 | 3360 | 2240 | 5600
134 |  |  | (4'-6"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 2 | 0% | 2 | EA | 735 | 434 | 1470 | 868 | 2338
135 |  |  | (5'-0"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 16 | 0% | 16 | EA | 805 | 455 | 12880 | 7280 | 20160
Third Floor Level
136 | A7 |  | (3'-0"x6'-8") Wood Door Type A & Wood Frame Incl. Hardware | 2 | 0% | 2 | EA | 595 | 455 | 1190 | 910 | 2100
137 |  |  | (2'-8"x6'-8") Wood Door Type B & Wood Frame Incl. Hardware | 8 | 0% | 8 | EA | 546 | 434 | 4368 | 3472 | 7840
138 |  |  | (3'-0"x7'-6") Vinyl Glass Door Type D & Frame Incl. Hardware | 2 | 0% | 2 | EA | 1680 | 1120 | 3360 | 2240 | 5600
139 |  |  | (4'-6"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 2 | 0% | 2 | EA | 735 | 434 | 1470 | 868 | 2338
140 |  |  | (5'-0"x6'-8") Wood Closet Sliding Door & Frame Incl. Hardware | 4 | 0% | 4 | EA | 805 | 455 | 3220 | 1820 | 5040
Windows
Ground Level Floor
141 | A4 |  | (4'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 20 | 0% | 20 | EA | 805 | 385 | 16100 | 7700 | 23800
142 |  |  | (3'-0"x3'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 14 | 0% | 14 | EA | 455 | 294 | 6370 | 4116 | 10486
143 |  |  | (2'-0"x2'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 294 | 196 | 588 | 392 | 980
144 |  |  | (3'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 10 | 0% | 10 | EA | 665 | 350 | 6650 | 3500 | 10150
145 |  |  | (5'-0"x7'-6") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 1995 | 1015 | 3990 | 2030 | 6020
146 |  |  | (5'-0"x2'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 455 | 245 | 910 | 490 | 1400
First Floor Level
147 | A5 |  | (4'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 22 | 0% | 22 | EA | 805 | 385 | 17710 | 8470 | 26180
148 |  |  | (3'-0"x3'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 12 | 0% | 12 | EA | 455 | 294 | 5460 | 3528 | 8988
149 |  |  | (2'-0"x2'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 294 | 196 | 588 | 392 | 980
150 |  |  | (3'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 8 | 0% | 8 | EA | 665 | 350 | 5320 | 2800 | 8120
151 |  |  | (5'-0"x6'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 1715 | 875 | 3430 | 1750 | 5180
152 |  |  | (4'-0"x3'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 546 | 294 | 1092 | 588 | 1680
153 |  |  | (21'-0"x7'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 1 | 0% | 1 | EA | 11550 | 5950 | 11550 | 5950 | 17500
Second Floor Level
154 | A6 |  | (4'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 18 | 0% | 18 | EA | 805 | 385 | 14490 | 6930 | 21420
155 |  |  | (3'-0"x3'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 10 | 0% | 10 | EA | 455 | 294 | 4550 | 2940 | 7490
156 |  |  | (3'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 8 | 0% | 8 | EA | 665 | 350 | 5320 | 2800 | 8120
157 |  |  | (5'-0"x6'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 1715 | 875 | 3430 | 1750 | 5180
158 |  |  | (5'-0"x4'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 1295 | 665 | 2590 | 1330 | 3920
159 |  |  | (21'-0"x7'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 1 | 0% | 1 | EA | 11550 | 5950 | 11550 | 5950 | 17500
Third Floor Level
160 | A7 |  | (4'-0"x5'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 6 | 0% | 6 | EA | 805 | 385 | 4830 | 2310 | 7140
161 |  |  | (2'-0"x2'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 294 | 196 | 588 | 392 | 980
162 |  |  | (5'-0"x6'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 2 | 0% | 2 | EA | 1715 | 875 | 3430 | 1750 | 5180
163 |  |  | (21'-0"x7'-0") Vinyl-Glass Single Hung Tempered Glass Window w/ Frame | 1 | 0% | 1 | EA | 11550 | 5950 | 11550 | 5950 | 17500
Skylight
Second Level Floor
164 | A6 |  | (21'-6"x10'-11") Skylight w/ Frame | 1 | 0% | 1 | EA | 19600 | 9800 | 19600 | 9800 | 29400
165 |  |  | (16'-0"x10'-11") Skylight w/ Frame | 1 | 0% | 1 | EA | 15400 | 7700 | 15400 | 7700 | 23100
Third Level Floor
166 | A7 |  | (21'-6"x10'-11") Skylight w/ Frame | 1 | 0% | 1 | EA | 19600 | 9800 | 19600 | 9800 | 29400
|  |  | Subtotal | [9 empty] | 552048
|  | 9000 | DIVISION 09- FINISHES
Drywall
Ground Level Floor
| A4 |  | (6" Thick) Exterior Wall (10'-3" H, 353 LF)
167 |  |  | (2x6) Top & Bottom Plate | 1059 | 0% | 1059 | LF | 2.275 | 1.925 | 2409.225 | 2038.575 | 4447.8
168 |  |  | (2x6) Wood Studs @ 16" O.C. (263 EA) (2700 LF) | 3618.25 | 5% | 3799.1625 | SF | 3.85 | 2.975 | 14626.7756 | 11302.5084 | 25929.2841
169 |  |  | (5/8") Wall Gypsum Board | 3618.25 | 5% | 3799.1625 | SF | 1.47 | 1.645 | 5584.7689 | 6249.6223 | 11834.3912
170 |  |  | (1/2") Plywood Sheathing | 3971.25 | 5% | 4169.8125 | SF | 1.995 | 1.855 | 8318.7759 | 7735.0022 | 16053.7781
171 |  |  | R-21 Rockwool Insulation | 3618.25 | 5% | 3799.1625 | SF | 2.065 | 1.785 | 7845.2706 | 6781.5051 | 14626.7756
172 |  |  | Sealant | 706 | 0% | 706 | LF | 0.805 | 0.77 | 568.33 | 543.62 | 1111.95
173 |  |  | 4x8 No of Sheets | 113 | 0% | 113 | EA
174 |  |  | Drywall Screws | 4746 | 0% | 4746 | EA | 0.035 | 0.028 | 166.11 | 132.888 | 298.998
175 |  |  | Tape Joints | 1808 | 0% | 1808 | LF | 0.315 | 0.455 | 569.52 | 822.64 | 1392.16
176 |  |  | Mudding | 226 | 0% | 226 | LBS | 0.84 | 1.12 | 189.84 | 253.12 | 442.96
(6" Thick) 1HR Rated Interior Wall (10'-3" H, 504 LF)
177 |  |  | (2x6) Top & Bottom Plate | 1512 | 0% | 1512 | LF | 2.275 | 1.925 | 3439.8 | 2910.6 | 6350.4
178 |  |  | (2x6) Wood Studs @ 16" O.C. (376 EA) (3855 LF) | 5166 | 5% | 5424.3 | SF | 3.85 | 2.975 | 20883.555 | 16137.2925 | 37020.8475
179 |  |  | (1/2") Metal Resilient Channel | 5166 | 5% | 5424.3 | SF | 1.295 | 1.365 | 7024.4685 | 7404.1695 | 14428.638
180 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 5166 | 5% | 5424.3 | SF | 2.205 | 2.275 | 11960.5815 | 12340.2825 | 24300.864
181 |  |  | (1/2") Plywood Sheathing | 5670 | 5% | 5953.5 | SF | 1.995 | 1.855 | 11877.2325 | 11043.7425 | 22920.975
182 |  |  | R-21 Rockwool Insulation | 5166 | 5% | 5424.3 | SF | 2.065 | 1.785 | 11201.1795 | 9682.3755 | 20883.555
183 |  |  | Sealant | 1008 | 0% | 1008 | LF | 0.805 | 0.77 | 811.44 | 776.16 | 1587.6
184 |  |  | 4x8 No of Sheets | 322 | 0% | 322 | EA
185 |  |  | Drywall Screws | 13524 | 0% | 13524 | EA | 0.035 | 0.028 | 473.34 | 378.672 | 852.012
186 |  |  | Tape Joints | 5152 | 0% | 5152 | LF | 0.315 | 0.455 | 1622.88 | 2344.16 | 3967.04
187 |  |  | Mudding | 644 | 0% | 644 | LBS | 0.84 | 1.12 | 540.96 | 721.28 | 1262.24
(6" Thick) 2HR Rated Interior Wall (10'-3" H, 68 LF)
188 |  |  | (2x6) Top & Bottom Plate | 204 | 0% | 204 | LF | 2.275 | 1.925 | 464.1 | 392.7 | 856.8
189 |  |  | (2x6) Wood Studs @ 16" O.C. (51 EA) (520 LF) | 697 | 5% | 731.85 | SF | 3.85 | 2.975 | 2817.6225 | 2177.2537 | 4994.8762
190 |  |  | 2 Layer (5/8") Type X Wall Gypsum Board On Both Sides | 697 | 5% | 731.85 | SF | 3.325 | 2.905 | 2433.4012 | 2126.0243 | 4559.4255
191 |  |  | (1/2") Plywood Sheathing | 765 | 5% | 803.25 | SF | 1.995 | 1.855 | 1602.4837 | 1490.0287 | 3092.5125
192 |  |  | R-21 Rockwool Insulation | 697 | 5% | 731.85 | SF | 2.065 | 1.785 | 1511.2703 | 1306.3522 | 2817.6225
193 |  |  | Sealant | 136 | 0% | 136 | LF | 0.805 | 0.77 | 109.48 | 104.72 | 214.2
194 |  |  | 4x8 No of Sheets | 88 | 0% | 88 | EA
195 |  |  | Drywall Screws | 3696 | 0% | 3696 | EA | 0.035 | 0.028 | 129.36 | 103.488 | 232.848
196 |  |  | Tape Joints | 1408 | 0% | 1408 | LF | 0.315 | 0.455 | 443.52 | 640.64 | 1084.16
197 |  |  | Mudding | 176 | 0% | 176 | LBS | 0.84 | 1.12 | 147.84 | 197.12 | 344.96
(4" Thick) Interior Wall (10'-3" H, 573 LF)
198 |  |  | (2x4) Top & Bottom Plate | 1719 | 0% | 1719 | LF | 1.715 | 1.505 | 2948.085 | 2587.095 | 5535.18
199 |  |  | (2x4) Wood Studs @ 16" O.C. (51 EA) (4383 LF) | 5873.25 | 5% | 6166.9125 | SF | 2.975 | 2.555 | 18346.5647 | 15756.4614 | 34103.0261
200 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 5873.25 | 5% | 6166.9125 | SF | 2.205 | 2.275 | 13598.0421 | 14029.7259 | 27627.768
201 |  |  | Sealant | 1146 | 0% | 1146 | LF | 0.805 | 0.77 | 922.53 | 882.42 | 1804.95
202 |  |  | 4x8 No of Sheets | 368 | 0% | 368 | EA
203 |  |  | Drywall Screws | 15456 | 0% | 15456 | EA | 0.035 | 0.028 | 540.96 | 432.768 | 973.728
204 |  |  | Tape Joints | 5888 | 0% | 5888 | LF | 0.315 | 0.455 | 1854.72 | 2679.04 | 4533.76
205 |  |  | Mudding | 736 | 0% | 736 | LBS | 0.84 | 1.12 | 618.24 | 824.32 | 1442.56
GWB Ceiling
206 |  |  | Resilient Channel @ 24" O.C | 7988 | 5% | 8387.4 | SF | 1.295 | 1.365 | 10861.683 | 11448.801 | 22310.484
207 |  |  | (5/8") Type X Wall Gypsum Board | 7988 | 5% | 8387.4 | SF | 1.575 | 1.855 | 13210.155 | 15558.627 | 28768.782
208 |  |  | R-19 Fiberglass Batt Insulation | 7988 | 5% | 8387.4 | SF | 1.365 | 1.295 | 11448.801 | 10861.683 | 22310.484
209 |  |  | 4x8 No of Sheets | 250 | 0% | 250 | EA
210 |  |  | Drywall Screws | 10500 | 0% | 10500 | EA | 0.035 | 0.028 | 367.5 | 294 | 661.5
211 |  |  | Tape Joints | 4000 | 0% | 4000 | LF | 0.315 | 0.455 | 1260 | 1820 | 3080
212 |  |  | Mudding | 500 | 0% | 500 | LBS | 0.84 | 1.12 | 420 | 560 | 980
First Floor Level
| A5 |  | (6" Thick) Exterior Wall (9'-3" H, 353 LF)
213 |  |  | (2x6) Top & Bottom Plate | 1059 | 0% | 1059 | LF | 2.275 | 1.925 | 2409.225 | 2038.575 | 4447.8
214 |  |  | (2x6) Wood Studs @ 16" O.C. (263 EA) (2700 LF) | 3265.25 | 5% | 3428.5125 | SF | 3.85 | 2.975 | 13199.7731 | 10199.8247 | 23399.5978
215 |  |  | (5/8") Wall Gypsum Board | 3265.25 | 5% | 3428.5125 | SF | 1.47 | 1.645 | 5039.9134 | 5639.9031 | 10679.8164
216 |  |  | (1/2") Plywood Sheathing | 3618.25 | 5% | 3799.1625 | SF | 1.995 | 1.855 | 7579.3292 | 7047.4464 | 14626.7756
217 |  |  | R-21 Rockwool Insulation | 3265.25 | 5% | 3428.5125 | SF | 2.065 | 1.785 | 7079.8783 | 6119.8948 | 13199.7731
218 |  |  | Sealant | 1412 | 0% | 1412 | LF | 0.805 | 0.77 | 1136.66 | 1087.24 | 2223.9
219 |  |  | 4x8 No of Sheets | 102 | 0% | 102 | EA
220 |  |  | Drywall Screws | 4284 | 0% | 4284 | EA | 0.035 | 0.028 | 149.94 | 119.952 | 269.892
221 |  |  | Tape Joints | 1632 | 0% | 1632 | LF | 0.315 | 0.455 | 514.08 | 742.56 | 1256.64
222 |  |  | Mudding | 204 | 0% | 204 | LBS | 0.84 | 1.12 | 171.36 | 228.48 | 399.84
(6" Thick) 1HR Rated Interior Wall (9'-3" H, 509 LF)
223 |  |  | (2x6) Top & Bottom Plate | 1527 | 0% | 1527 | LF | 2.275 | 1.925 | 3473.925 | 2939.475 | 6413.4
224 |  |  | (2x6) Wood Studs @ 16" O.C. (380 EA) (3514 LF) | 4708.25 | 5% | 4943.6625 | SF | 3.85 | 2.975 | 19033.1006 | 14707.3959 | 33740.4966
225 |  |  | (1/2") Metal Resilient Channel | 4708.25 | 5% | 4943.6625 | SF | 1.295 | 1.365 | 6402.0429 | 6748.0993 | 13150.1423
226 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 4708.25 | 5% | 4943.6625 | SF | 2.205 | 2.275 | 10900.7758 | 11246.8322 | 22147.608
227 |  |  | (1/2") Plywood Sheathing | 5217.25 | 5% | 5478.1125 | SF | 1.995 | 1.855 | 10928.8344 | 10161.8987 | 21090.7331
228 |  |  | R-21 Rockwool Insulation | 4708.25 | 5% | 4943.6625 | SF | 2.065 | 1.785 | 10208.6631 | 8824.4376 | 19033.1006
229 |  |  | Sealant | 2036 | 0% | 2036 | LF | 0.805 | 0.77 | 1638.98 | 1567.72 | 3206.7
230 |  |  | 4x8 No of Sheets | 294 | 0% | 294 | EA
231 |  |  | Drywall Screws | 12348 | 0% | 12348 | EA | 0.035 | 0.028 | 432.18 | 345.744 | 777.924
232 |  |  | Tape Joints | 4704 | 0% | 4704 | LF | 0.315 | 0.455 | 1481.76 | 2140.32 | 3622.08
233 |  |  | Mudding | 588 | 0% | 588 | LBS | 0.84 | 1.12 | 493.92 | 658.56 | 1152.48
(6" Thick) 2HR Rated Interior Wall (9'-3" H, 64 LF)
234 |  |  | (2x6) Top & Bottom Plate | 192 | 0% | 192 | LF | 2.275 | 1.925 | 436.8 | 369.6 | 806.4
235 |  |  | (2x6) Wood Studs @ 16" O.C. (48 EA) (442 LF) | 592 | 5% | 621.6 | SF | 3.85 | 2.975 | 2393.16 | 1849.26 | 4242.42
236 |  |  | 2 Layer (5/8") Type X Wall Gypsum Board On Both Sides | 592 | 5% | 621.6 | SF | 3.325 | 2.905 | 2066.82 | 1805.748 | 3872.568
237 |  |  | (1/2") Plywood Sheathing | 656 | 5% | 688.8 | SF | 1.995 | 1.855 | 1374.156 | 1277.724 | 2651.88
238 |  |  | R-21 Rockwool Insulation | 592 | 5% | 621.6 | SF | 2.065 | 1.785 | 1283.604 | 1109.556 | 2393.16
239 |  |  | Sealant | 256 | 0% | 256 | LF | 0.805 | 0.77 | 206.08 | 197.12 | 403.2
240 |  |  | 4x8 No of Sheets | 76 | 0% | 76 | EA
241 |  |  | Drywall Screws | 3192 | 0% | 3192 | EA | 0.035 | 0.028 | 111.72 | 89.376 | 201.096
242 |  |  | Tape Joints | 1216 | 0% | 1216 | LF | 0.315 | 0.455 | 383.04 | 553.28 | 936.32
243 |  |  | Mudding | 152 | 0% | 152 | LBS | 0.84 | 1.12 | 127.68 | 170.24 | 297.92
(4" Thick) Interior Wall (9'-3" H, 36 LF)
244 |  |  | (2x6) Top & Bottom Plate | 108 | 0% | 108 | LF | 2.275 | 1.925 | 245.7 | 207.9 | 453.6
245 |  |  | (2x6) Wood Studs @ 16" O.C. (27 EA) (249 LF) | 333 | 5% | 349.65 | SF | 3.85 | 2.975 | 1346.1525 | 1040.2088 | 2386.3612
246 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 333 | 5% | 349.65 | SF | 2.205 | 2.275 | 770.9782 | 795.4538 | 1566.432
247 |  |  | Sealant | 144 | 0% | 144 | LF | 0.805 | 0.77 | 115.92 | 110.88 | 226.8
248 |  |  | 4x8 No of Sheets | 20 | 0% | 20 | EA
249 |  |  | Drywall Screws | 840 | 0% | 840 | EA | 0.035 | 0.028 | 29.4 | 23.52 | 52.92
250 |  |  | Tape Joints | 320 | 0% | 320 | LF | 0.315 | 0.455 | 100.8 | 145.6 | 246.4
251 |  |  | Mudding | 40 | 0% | 40 | LBS | 0.84 | 1.12 | 33.6 | 44.8 | 78.4
(4" Thick) Interior Wall (9'-3" H, 536 LF)
252 |  |  | (2x4) Top & Bottom Plate | 1608 | 0% | 1608 | LF | 1.715 | 1.505 | 2757.72 | 2420.04 | 5177.76
253 |  |  | (2x4) Wood Studs @ 16" O.C. (51 EA) (3700 LF) | 4958 | 5% | 5205.9 | SF | 2.975 | 2.555 | 15487.5525 | 13301.0745 | 28788.627
254 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 4958 | 5% | 5205.9 | SF | 2.205 | 2.275 | 11479.0095 | 11843.4225 | 23322.432
255 |  |  | Sealant | 2144 | 0% | 2144 | LF | 0.805 | 0.77 | 1725.92 | 1650.88 | 3376.8
256 |  |  | 4x8 No of Sheets | 310 | 0% | 310 | EA
257 |  |  | Drywall Screws | 13020 | 0% | 13020 | EA | 0.035 | 0.028 | 455.7 | 364.56 | 820.26
258 |  |  | Tape Joints | 4960 | 0% | 4960 | LF | 0.315 | 0.455 | 1562.4 | 2256.8 | 3819.2
259 |  |  | Mudding | 620 | 0% | 620 | LBS | 0.84 | 1.12 | 520.8 | 694.4 | 1215.2
GWB Ceiling
260 |  |  | Resilient Channel @ 24" O.C | 6937 | 5% | 7283.85 | SF | 1.295 | 1.365 | 9432.5858 | 9942.4553 | 19375.041
261 |  |  | (5/8") Type X Wall Gypsum Board | 6937 | 5% | 7283.85 | SF | 1.575 | 1.855 | 11472.0637 | 13511.5417 | 24983.6055
262 |  |  | R-19 Fiberglass Batt Insulation | 6937 | 5% | 7283.85 | SF | 1.365 | 1.295 | 9942.4553 | 9432.5858 | 19375.041
263 |  |  | 4x8 No of Sheets | 217 | 0% | 217 | EA
264 |  |  | Drywall Screws | 9114 | 0% | 9114 | EA | 0.035 | 0.028 | 318.99 | 255.192 | 574.182
265 |  |  | Tape Joints | 3472 | 0% | 3472 | LF | 0.315 | 0.455 | 1093.68 | 1579.76 | 2673.44
266 |  |  | Mudding | 434 | 0% | 434 | LBS | 0.84 | 1.12 | 364.56 | 486.08 | 850.64
Second Floor Level
| A6 |  | (6" Thick) Exterior Wall (9'-3" H, 302 LF)
267 |  |  | (2x6) Top & Bottom Plate | 906 | 0% | 906 | LF | 2.275 | 1.925 | 2061.15 | 1744.05 | 3805.2
268 |  |  | (2x6) Wood Studs @ 16" O.C. (225 EA) (2085 LF) | 2793.5 | 5% | 2933.175 | SF | 3.85 | 2.975 | 11292.7237 | 8726.1956 | 20018.9194
269 |  |  | (5/8") Wall Gypsum Board | 2793.5 | 5% | 2933.175 | SF | 1.47 | 1.645 | 4311.7672 | 4825.0729 | 9136.8401
270 |  |  | (1/2") Plywood Sheathing | 3095.5 | 5% | 3250.275 | SF | 1.995 | 1.855 | 6484.2986 | 6029.2601 | 12513.5588
271 |  |  | R-21 Rockwool Insulation | 2793.5 | 5% | 2933.175 | SF | 2.065 | 1.785 | 6057.0064 | 5235.7174 | 11292.7237
272 |  |  | Sealant | 1208 | 0% | 1208 | LF | 0.805 | 0.77 | 972.44 | 930.16 | 1902.6
273 |  |  | 4x8 No of Sheets | 87 | 0% | 87 | EA
274 |  |  | Drywall Screws | 3654 | 0% | 3654 | EA | 0.035 | 0.028 | 127.89 | 102.312 | 230.202
275 |  |  | Tape Joints | 1392 | 0% | 1392 | LF | 0.315 | 0.455 | 438.48 | 633.36 | 1071.84
276 |  |  | Mudding | 174 | 0% | 174 | LBS | 0.84 | 1.12 | 146.16 | 194.88 | 341.04
(6" Thick) 1HR Rated Interior Wall (9'-3" H, 422 LF)
277 |  |  | (2x6) Top & Bottom Plate | 1266 | 0% | 1266 | LF | 2.275 | 1.925 | 2880.15 | 2437.05 | 5317.2
278 |  |  | (2x6) Wood Studs @ 16" O.C. (315 EA) (2913 LF) | 3903.5 | 5% | 4098.675 | SF | 3.85 | 2.975 | 15779.8987 | 12193.5581 | 27973.4569
279 |  |  | (1/2") Metal Resilient Channel | 3903.5 | 5% | 4098.675 | SF | 1.295 | 1.365 | 5307.7841 | 5594.6914 | 10902.4755
280 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 3903.5 | 5% | 4098.675 | SF | 2.205 | 2.275 | 9037.5784 | 9324.4856 | 18362.064
281 |  |  | (1/2") Plywood Sheathing | 4325.5 | 5% | 4541.775 | SF | 1.995 | 1.855 | 9060.8411 | 8424.9926 | 17485.8338
282 |  |  | R-21 Rockwool Insulation | 3903.5 | 5% | 4098.675 | SF | 2.065 | 1.785 | 8463.7639 | 7316.1349 | 15779.8988
283 |  |  | Sealant | 1688 | 0% | 1688 | LF | 0.805 | 0.77 | 1358.84 | 1299.76 | 2658.6
284 |  |  | 4x8 No of Sheets | 244 | 0% | 244 | EA
285 |  |  | Drywall Screws | 10248 | 0% | 10248 | EA | 0.035 | 0.028 | 358.68 | 286.944 | 645.624
286 |  |  | Tape Joints | 3904 | 0% | 3904 | LF | 0.315 | 0.455 | 1229.76 | 1776.32 | 3006.08
287 |  |  | Mudding | 488 | 0% | 488 | LBS | 0.84 | 1.12 | 409.92 | 546.56 | 956.48
(6" Thick) 2HR Rated Interior Wall (9'-3" H, 72 LF)
288 |  |  | (2x6) Top & Bottom Plate | 216 | 0% | 216 | LF | 2.275 | 1.925 | 491.4 | 415.8 | 907.2
289 |  |  | (2x6) Wood Studs @ 16" O.C. (54 EA) (497 LF) | 666 | 5% | 699.3 | SF | 3.85 | 2.975 | 2692.305 | 2080.4175 | 4772.7225
290 |  |  | 2 Layer (5/8") Type X Wall Gypsum Board On Both Sides | 666 | 5% | 699.3 | SF | 3.325 | 2.905 | 2325.1725 | 2031.4665 | 4356.639
291 |  |  | (1/2") Plywood Sheathing | 738 | 5% | 774.9 | SF | 1.995 | 1.855 | 1545.9255 | 1437.4395 | 2983.365
292 |  |  | R-21 Rockwool Insulation | 666 | 5% | 699.3 | SF | 2.065 | 1.785 | 1444.0545 | 1248.2505 | 2692.305
293 |  |  | Sealant | 288 | 0% | 288 | LF | 0.805 | 0.77 | 231.84 | 221.76 | 453.6
294 |  |  | 4x8 No of Sheets | 84 | 0% | 84 | EA
295 |  |  | Drywall Screws | 3528 | 0% | 3528 | EA | 0.035 | 0.028 | 123.48 | 98.784 | 222.264
296 |  |  | Tape Joints | 1344 | 0% | 1344 | LF | 0.315 | 0.455 | 423.36 | 611.52 | 1034.88
297 |  |  | Mudding | 168 | 0% | 168 | LBS | 0.84 | 1.12 | 141.12 | 188.16 | 329.28
(4" Thick) Interior Wall (9'-3" H, 441 LF)
298 |  |  | (2x4) Top & Bottom Plate | 1323 | 0% | 1323 | LF | 1.715 | 1.505 | 2268.945 | 1991.115 | 4260.06
299 |  |  | (2x4) Wood Studs @ 16" O.C. (329 EA) (3044 LF) | 4079.25 | 5% | 4283.2125 | SF | 2.975 | 2.555 | 12742.5572 | 10943.6079 | 23686.1651
300 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 4079.25 | 5% | 4283.2125 | SF | 2.205 | 2.275 | 9444.4836 | 9744.3084 | 19188.792
301 |  |  | Sealant | 1764 | 0% | 1764 | LF | 0.805 | 0.77 | 1420.02 | 1358.28 | 2778.3
302 |  |  | 4x8 No of Sheets | 254 | 0% | 254 | EA
303 |  |  | Drywall Screws | 10668 | 0% | 10668 | EA | 0.035 | 0.028 | 373.38 | 298.704 | 672.084
304 |  |  | Tape Joints | 4064 | 0% | 4064 | LF | 0.315 | 0.455 | 1280.16 | 1849.12 | 3129.28
305 |  |  | Mudding | 508 | 0% | 508 | LBS | 0.84 | 1.12 | 426.72 | 568.96 | 995.68
(4" Thick) Exterior Planter Wall (3'-6" H, 139 LF)
306 |  |  | (2x4) Top & Bottom Plate | 417 | 0% | 417 | LF | 1.715 | 1.505 | 715.155 | 627.585 | 1342.74
307 |  |  | (2x4) Wood Studs @ 16" O.C. (104 EA) (363 LF) | 1285.75 | 5% | 1350.0375 | SF | 2.975 | 2.555 | 4016.3616 | 3449.3458 | 7465.7074
308 |  |  | (1/2") Plywood Sheathing Both Side | 1285.75 | 5% | 1350.0375 | SF | 1.995 | 1.855 | 2693.3248 | 2504.3196 | 5197.6444
309 |  |  | Sealant | 556 | 0% | 556 | LF | 0.805 | 0.77 | 447.58 | 428.12 | 875.7
GWB Ceiling
310 |  |  | Resilient Channel @ 24" O.C | 5515 | 5% | 5790.75 | SF | 1.295 | 1.365 | 7499.0212 | 7904.3737 | 15403.395
311 |  |  | (5/8") Type X Wall Gypsum Board | 5515 | 5% | 5790.75 | SF | 1.575 | 1.855 | 9120.4312 | 10741.8412 | 19862.2725
312 |  |  | R-19 Fiberglass Batt Insulation | 5515 | 5% | 5790.75 | SF | 1.365 | 1.295 | 7904.3737 | 7499.0212 | 15403.395
313 |  |  | 4x8 No of Sheets | 172 | 0% | 172 | EA
314 |  |  | Drywall Screws | 7224 | 0% | 7224 | EA | 0.035 | 0.028 | 252.84 | 202.272 | 455.112
315 |  |  | Tape Joints | 2752 | 0% | 2752 | LF | 0.315 | 0.455 | 866.88 | 1252.16 | 2119.04
316 |  |  | Mudding | 344 | 0% | 344 | LBS | 0.84 | 1.12 | 288.96 | 385.28 | 674.24
Third Floor Level
| A7 |  | (6" Thick) Exterior Wall (9'-3" H, 184 LF)
317 |  |  | (2x6) Top & Bottom Plate | 552 | 0% | 552 | LF | 2.275 | 1.925 | 1255.8 | 1062.6 | 2318.4
318 |  |  | (2x6) Wood Studs @ 16" O.C. (137 EA) (1270 LF) | 1702 | 5% | 1787.1 | SF | 3.85 | 2.975 | 6880.335 | 5316.6225 | 12196.9575
319 |  |  | (5/8") Wall Gypsum Board | 1702 | 5% | 1787.1 | SF | 1.47 | 1.645 | 2627.037 | 2939.7795 | 5566.8165
320 |  |  | (1/2") Plywood Sheathing | 1886 | 5% | 1980.3 | SF | 1.995 | 1.855 | 3950.6985 | 3673.4565 | 7624.155
321 |  |  | R-21 Rockwool Insulation | 1702 | 5% | 1787.1 | SF | 2.065 | 1.785 | 3690.3615 | 3189.9735 | 6880.335
322 |  |  | Sealant | 736 | 0% | 736 | LF | 0.805 | 0.77 | 592.48 | 566.72 | 1159.2
323 |  |  | 4x8 No of Sheets | 53 | 0% | 53 | EA
324 |  |  | Drywall Screws | 2226 | 0% | 2226 | EA | 0.035 | 0.028 | 77.91 | 62.328 | 140.238
325 |  |  | Tape Joints | 848 | 0% | 848 | LF | 0.315 | 0.455 | 267.12 | 385.84 | 652.96
326 |  |  | Mudding | 106 | 0% | 106 | LBS | 0.84 | 1.12 | 89.04 | 118.72 | 207.76
(6" Thick) 1HR Rated Interior Wall (9'-3" H, 69 LF)
327 |  |  | (2x6) Top & Bottom Plate | 207 | 0% | 207 | LF | 2.275 | 1.925 | 470.925 | 398.475 | 869.4
328 |  |  | (2x6) Wood Studs @ 16" O.C. (51 EA) (476 LF) | 638.25 | 5% | 670.1625 | SF | 3.85 | 2.975 | 2580.1256 | 1993.7334 | 4573.8591
329 |  |  | (1/2") Metal Resilient Channel | 638.25 | 5% | 670.1625 | SF | 1.295 | 1.365 | 867.8604 | 914.7718 | 1782.6323
330 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 638.25 | 5% | 670.1625 | SF | 2.205 | 2.275 | 1477.7083 | 1524.6197 | 3002.328
331 |  |  | (1/2") Plywood Sheathing | 707.25 | 5% | 742.6125 | SF | 1.995 | 1.855 | 1481.5119 | 1377.5462 | 2859.0581
332 |  |  | R-21 Rockwool Insulation | 638.25 | 5% | 670.1625 | SF | 2.065 | 1.785 | 1383.8856 | 1196.2401 | 2580.1256
333 |  |  | Sealant | 276 | 0% | 276 | LF | 0.805 | 0.77 | 222.18 | 212.52 | 434.7
334 |  |  | 4x8 No of Sheets | 40 | 0% | 40 | EA
335 |  |  | Drywall Screws | 1680 | 0% | 1680 | EA | 0.035 | 0.028 | 58.8 | 47.04 | 105.84
336 |  |  | Tape Joints | 640 | 0% | 640 | LF | 0.315 | 0.455 | 201.6 | 291.2 | 492.8
337 |  |  | Mudding | 80 | 0% | 80 | LBS | 0.84 | 1.12 | 67.2 | 89.6 | 156.8
(6" Thick) 2HR Rated Interior Wall (9'-3" H, 67 LF)
338 |  |  | (2x6) Top & Bottom Plate | 201 | 0% | 201 | LF | 2.275 | 1.925 | 457.275 | 386.925 | 844.2
339 |  |  | (2x6) Wood Studs @ 16" O.C. (54 EA) (463 LF) | 619.75 | 5% | 650.7375 | SF | 3.85 | 2.975 | 2505.3394 | 1935.9441 | 4441.2834
340 |  |  | 2 Layer (5/8") Type X Wall Gypsum Board On Both Sides | 619.75 | 5% | 650.7375 | SF | 3.325 | 2.905 | 2163.7022 | 1890.3924 | 4054.0946
341 |  |  | (1/2") Plywood Sheathing | 686.75 | 5% | 721.0875 | SF | 1.995 | 1.855 | 1438.5696 | 1337.6173 | 2776.1869
342 |  |  | R-21 Rockwool Insulation | 619.75 | 5% | 650.7375 | SF | 2.065 | 1.785 | 1343.7729 | 1161.5664 | 2505.3394
343 |  |  | Sealant | 268 | 0% | 268 | LF | 0.805 | 0.77 | 215.74 | 206.36 | 422.1
344 |  |  | 4x8 No of Sheets | 76 | 0% | 76 | EA
345 |  |  | Drywall Screws | 3192 | 0% | 3192 | EA | 0.035 | 0.028 | 111.72 | 89.376 | 201.096
346 |  |  | Tape Joints | 1216 | 0% | 1216 | LF | 0.315 | 0.455 | 383.04 | 553.28 | 936.32
347 |  |  | Mudding | 152 | 0% | 152 | LBS | 0.84 | 1.12 | 127.68 | 170.24 | 297.92
(4" Thick) Interior Wall (9'-3" H, 152 LF)
348 |  |  | (2x4) Top & Bottom Plate | 456 | 0% | 456 | LF | 1.715 | 1.505 | 782.04 | 686.28 | 1468.32
349 |  |  | (2x4) Wood Studs @ 16" O.C. (113 EA) (1049 LF) | 1406 | 5% | 1476.3 | SF | 2.975 | 2.555 | 4391.9925 | 3771.9465 | 8163.939
350 |  |  | (5/8") Type X Wall Gypsum Board On Both Sides | 1406 | 5% | 1476.3 | SF | 2.205 | 2.275 | 3255.2415 | 3358.5825 | 6613.824
351 |  |  | Sealant | 608 | 0% | 608 | LF | 0.805 | 0.77 | 489.44 | 468.16 | 957.6
352 |  |  | 4x8 No of Sheets | 88 | 0% | 88 | EA
353 |  |  | Drywall Screws | 3696 | 0% | 3696 | EA | 0.035 | 0.028 | 129.36 | 103.488 | 232.848
354 |  |  | Tape Joints | 1408 | 0% | 1408 | LF | 0.315 | 0.455 | 443.52 | 640.64 | 1084.16
355 |  |  | Mudding | 176 | 0% | 176 | LBS | 0.84 | 1.12 | 147.84 | 197.12 | 344.96
(4" Thick) Exterior Planter Wall (3'-6" H, 591 LF)
356 |  |  | (2x4) Top & Bottom Plate | 1773 | 0% | 1773 | LF | 1.715 | 1.505 | 3040.695 | 2668.365 | 5709.06
357 |  |  | (2x4) Wood Studs @ 16" O.C. (441 EA) (1544 LF) | 5466.75 | 5% | 5740.0875 | SF | 2.975 | 2.555 | 17076.7603 | 14665.9236 | 31742.6839
358 |  |  | (1/2") Plywood Sheathing Both Side | 5466.75 | 5% | 5740.0875 | SF | 1.995 | 1.855 | 11451.4746 | 10647.8623 | 22099.3369
359 |  |  | Sealant | 2364 | 0% | 2364 | LF | 0.805 | 0.77 | 1903.02 | 1820.28 | 3723.3
GWB Ceiling
360 |  |  | Resilient Channel @ 24" O.C | 1595 | 5% | 1674.75 | SF | 1.295 | 1.365 | 2168.8012 | 2286.0338 | 4454.835
361 |  |  | (5/8") Type X Wall Gypsum Board | 1595 | 5% | 1674.75 | SF | 1.575 | 1.855 | 2637.7312 | 3106.6612 | 5744.3925
362 |  |  | R-19 Fiberglass Batt Insulation | 1595 | 5% | 1674.75 | SF | 1.365 | 1.295 | 2286.0338 | 2168.8012 | 4454.835
363 |  |  | 4x8 No of Sheets | 50 | 0% | 50 | EA
364 |  |  | Drywall Screws | 2100 | 0% | 2100 | EA | 0.035 | 0.028 | 73.5 | 58.8 | 132.3
365 |  |  | Tape Joints | 800 | 0% | 800 | LF | 0.315 | 0.455 | 252 | 364 | 616
366 |  |  | Mudding | 100 | 0% | 100 | LBS | 0.84 | 1.12 | 84 | 112 | 196
Roof
| A8 |  | (6" Thick) Parapet Wall (3'-6" H, 214 LF)
367 |  |  | (2x6) Top & Bottom Plate | 642 | 0% | 642 | LF | 2.275 | 1.925 | 1460.55 | 1235.85 | 2696.4
368 |  |  | (2x6) Wood Studs @ 16" O.C. (160 EA) (559 LF) | 749 | 5% | 786.45 | SF | 3.85 | 2.975 | 3027.8325 | 2339.6887 | 5367.5212
369 |  |  | (1/2") Plywood Sheathing Both Side | 2193.5 | 5% | 2303.175 | SF | 1.995 | 1.855 | 4594.8341 | 4272.3896 | 8867.2238
Interior Finishes
Ground Level Floor
| A4 |  | Floor Finish
370 |  |  | Luxury Vinyl Flooring - Color & Pattern to Match - Acoustic Underlayment | 7638 | 5% | 8019.9 | SF | 4.095 | 3.325 | 32841.4905 | 26666.1675 | 59507.658
371 |  |  | Tile Flooring - Color & Pattern to Match - Acoustic Underlayment | 389 | 5% | 408.45 | SF | 5.95 | 5.25 | 2430.2775 | 2144.3625 | 4574.64
Wall Base
372 |  |  | Rubber Base | 1866 | 0% | 1866 | LF | 1.575 | 1.4 | 2938.95 | 2612.4 | 5551.35
373 |  |  | Tile Base | 130 | 5% | 136.5 | LF | 5.25 | 4.55 | 716.625 | 621.075 | 1337.7
Wall Finish
374 |  |  | Shower Wall Tile | 707 | 5% | 742.35 | SF | 8.75 | 8.05 | 6495.5625 | 5975.9175 | 12471.48
375 |  |  | Kitchen Backsplash Tile | 292.5 | 5% | 307.125 | SF | 10.15 | 8.75 | 3117.3187 | 2687.3438 | 5804.6625
376 |  |  | Paint on Wall | 19670.024 | 5% | 20653.5252 | SF | 0.805 | 1.155 | 16626.0878 | 23854.8216 | 40480.9094
Ceiling Finish
377 |  |  | Paint on Ceiling | 7988 | 5% | 8387.4 | SF | 0.665 | 0.945 | 5577.621 | 7926.093 | 13503.714
First Floor Level
| A5 |  | Floor Finish
378 |  |  | Luxury Vinyl Flooring - Color & Pattern to Match - Acoustic Underlayment | 6937 | 5% | 7283.85 | SF | 4.095 | 3.325 | 29827.3658 | 24218.8013 | 54046.167
379 |  |  | Tile Flooring - Color & Pattern to Match - Acoustic Underlayment | 467 | 5% | 490.35 | SF | 5.95 | 5.25 | 2917.5825 | 2574.3375 | 5491.92
Wall Base
380 |  |  | Rubber Base | 1851 | 5% | 1943.55 | LF | 1.575 | 1.4 | 3061.0913 | 2720.97 | 5782.0613
381 |  |  | Tile Base | 155 | 5% | 162.75 | LF | 5.25 | 4.55 | 854.4375 | 740.5125 | 1594.95
Wall Finish
382 |  |  | Shower Wall Tile | 840 | 5% | 882 | SF | 8.75 | 8.05 | 7717.5 | 7100.1 | 14817.6
383 |  |  | Kitchen Backsplash Tile | 292.5 | 5% | 307.125 | SF | 10.15 | 8.75 | 3117.3187 | 2687.3438 | 5804.6625
384 |  |  | Paint on Wall | 17581.024 | 5% | 18460.0752 | SF | 0.805 | 1.155 | 14860.3605 | 21321.3869 | 36181.7474
Ceiling Finish
385 |  |  | Paint on Ceiling | 6937 | 5% | 7283.85 | SF | 0.665 | 0.945 | 4843.7602 | 6883.2383 | 11726.9985
Second Floor Level
| A6 |  | Floor Finish
386 |  |  | Luxury Vinyl Flooring - Color & Pattern to Match - Acoustic Underlayment | 5552 | 5% | 5829.6 | SF | 4.095 | 3.325 | 23872.212 | 19383.42 | 43255.632
387 |  |  | Tile Flooring - Color & Pattern to Match - Acoustic Underlayment | 430 | 5% | 451.5 | SF | 5.95 | 5.25 | 2686.425 | 2370.375 | 5056.8
Wall Base
388 |  |  | Rubber Base | 1449 | 5% | 1521.45 | LF | 1.575 | 1.4 | 2396.2838 | 2130.03 | 4526.3137
389 |  |  | Tile Base | 130 | 5% | 136.5 | LF | 5.25 | 4.55 | 716.625 | 621.075 | 1337.7
Wall Finish
390 |  |  | Shower Wall Tile | 560 | 5% | 588 | SF | 8.75 | 8.05 | 5145 | 4733.4 | 9878.4
391 |  |  | Kitchen Backsplash Tile | 234 | 5% | 245.7 | SF | 10.15 | 8.75 | 2493.855 | 2149.875 | 4643.73
392 |  |  | Paint on Wall | 13684.416 | 5% | 14368.6368 | SF | 0.805 | 1.155 | 11566.7526 | 16595.7755 | 28162.5281
Ceiling Finish
393 |  |  | Paint on Ceiling | 5515 | 5% | 5790.75 | SF | 0.665 | 0.945 | 3850.8487 | 5472.2587 | 9323.1075
Third Floor Level
| A7 |  | Floor Finish
394 |  |  | Luxury Vinyl Flooring - Color & Pattern to Match - Acoustic Underlayment | 1604 | 5% | 1684.2 | SF | 4.095 | 3.325 | 6896.799 | 5599.965 | 12496.764
395 |  |  | Tile Flooring - Color & Pattern to Match - Acoustic Underlayment | 78 | 5% | 81.9 | SF | 5.95 | 5.25 | 487.305 | 429.975 | 917.28
Wall Base
396 |  |  | Rubber Base | 481 | 5% | 505.05 | LF | 1.575 | 1.4 | 795.4538 | 707.07 | 1502.5237
397 |  |  | Tile Base | 26 | 5% | 27.3 | LF | 5.25 | 4.55 | 143.325 | 124.215 | 267.54
Wall Finish
398 |  |  | Shower Wall Tile | 140 | 5% | 147 | SF | 8.75 | 8.05 | 1286.25 | 1183.35 | 2469.6
399 |  |  | Kitchen Backsplash Tile | 58.5 | 5% | 61.425 | SF | 10.15 | 8.75 | 623.4638 | 537.4688 | 1160.9325
400 |  |  | Paint on Wall | 4224.832 | 5% | 4436.0736 | SF | 0.805 | 1.155 | 3571.0392 | 5123.665 | 8694.7043
Ceiling Finish
401 |  |  | Paint on Ceiling | 1595 | 5% | 1674.75 | SF | 0.665 | 0.945 | 1113.7087 | 1582.6387 | 2696.3475
Opening Finishes
Ground Level Floor
402 | A4 |  | Paint @ Doors | 3990 | 5% | 4189.5 | SF | 0.595 | 1.015 | 2492.7525 | 4252.3425 | 6745.095
403 |  |  | Paint @ Door Trim | 1548 | 0% | 1548 | LF | 0.315 | 0.805 | 487.62 | 1246.14 | 1733.76
404 |  |  | Paint @ Door Frame | 1278 | 0% | 1278 | LF | 0.385 | 0.875 | 492.03 | 1118.25 | 1610.28
405 |  |  | Paint @ Window Trim | 663 | 0% | 663 | LF | 0.315 | 0.77 | 208.845 | 510.51 | 719.355
First Floor Level
406 | A5 |  | Paint @ Doors | 3235 | 5% | 3396.75 | SF | 0.595 | 1.015 | 2021.0662 | 3447.7012 | 5468.7675
407 |  |  | Paint @ Door Trim | 1930 | 0% | 1930 | LF | 0.315 | 0.805 | 607.95 | 1553.65 | 2161.6
408 |  |  | Paint @ Door Frame | 1143 | 0% | 1143 | LF | 0.385 | 0.875 | 440.055 | 1000.125 | 1440.18
409 |  |  | Paint @ Window Trim | 670 | 0% | 670 | LF | 0.315 | 0.77 | 211.05 | 515.9 | 726.95
Second Floor Level
410 | A6 |  | Paint @ Doors | 2655 | 5% | 2787.75 | SF | 0.595 | 1.015 | 1658.7112 | 2829.5662 | 4488.2775
411 |  |  | Paint @ Door Trim | 1548 | 0% | 1548 | LF | 0.315 | 0.805 | 487.62 | 1246.14 | 1733.76
412 |  |  | Paint @ Door Frame | 940 | 0% | 940 | LF | 0.385 | 0.875 | 361.9 | 822.5 | 1184.4
413 |  |  | Paint @ Window Trim | 582 | 0% | 582 | LF | 0.315 | 0.77 | 183.33 | 448.14 | 631.47
Third Floor Level
414 | A7 |  | Paint @ Doors | 886 | 5% | 930.3 | SF | 0.595 | 1.015 | 553.5285 | 944.2545 | 1497.783
415 |  |  | Paint @ Door Trim | 495 | 0% | 495 | LF | 0.315 | 0.805 | 155.925 | 398.475 | 554.4
416 |  |  | Paint @ Door Frame | 314 | 0% | 314 | LF | 0.385 | 0.875 | 120.89 | 274.75 | 395.64
417 |  |  | Paint @ Window Trim | 176 | 0% | 176 | LF | 0.315 | 0.77 | 55.44 | 135.52 | 190.96
|  |  | Subtotal | [9 empty] | 1667814.447
|  | 10 | DIVISION 10- SPECIALTIES
Ground Level Floor
| A4 |  | Fire Extinguishers
418 |  |  | Fire Extinguishers | 3 | 0% | 3 | EA | 129.5 | 66.5 | 388.5 | 199.5 | 588
Corner Guard
419 |  |  | Corner Guard | 12 | 0% | 12 | EA | 101.5 | 59.5 | 1218 | 714 | 1932
Signages
420 |  |  | Unit Name & Number Sign | 10 | 0% | 10 | EA | 66.5 | 38.5 | 665 | 385 | 1050
421 |  |  | Stair & Elevator Sign | 6 | 0% | 6 | EA | 87.5 | 52.5 | 525 | 315 | 840
422 |  |  | Misc. Utility Sign | 3 | 0% | 3 | EA | 59.5 | 31.5 | 178.5 | 94.5 | 273
Bath Accessories
423 |  |  | Mirror | 10 | 0% | 10 | EA | 154 | 77 | 1540 | 770 | 2310
424 |  |  | Soap Dish | 10 | 0% | 10 | EA | 31.5 | 24.5 | 315 | 245 | 560
425 |  |  | Toilet Paper Holder | 10 | 0% | 10 | EA | 38.5 | 28 | 385 | 280 | 665
426 |  |  | Towel Bar | 10 | 0% | 10 | EA | 52.5 | 31.5 | 525 | 315 | 840
427 |  |  | Robe Hook | 10 | 0% | 10 | EA | 24.5 | 17.5 | 245 | 175 | 420
First Floor Level
| A5 |  | Fire Extinguishers
428 |  |  | Fire Extinguishers | 2 | 0% | 2 | EA | 129.5 | 66.5 | 259 | 133 | 392
Corner Guard
429 |  |  | Corner Guard | 7 | 0% | 7 | EA | 101.5 | 59.5 | 710.5 | 416.5 | 1127
Signages
430 |  |  | Unit Name & Number Sign | 10 | 0% | 10 | EA | 66.5 | 38.5 | 665 | 385 | 1050
431 |  |  | Stair & Elevator Sign | 6 | 0% | 6 | EA | 87.5 | 52.5 | 525 | 315 | 840
432 |  |  | Misc. Utility Sign | 2 | 0% | 2 | EA | 59.5 | 31.5 | 119 | 63 | 182
Bath Accessories
433 |  |  | Mirror | 10 | 0% | 10 | EA | 154 | 77 | 1540 | 770 | 2310
434 |  |  | Soap Dish | 10 | 0% | 10 | EA | 31.5 | 24.5 | 315 | 245 | 560
435 |  |  | Toilet Paper Holder | 10 | 0% | 10 | EA | 38.5 | 28 | 385 | 280 | 665
436 |  |  | Towel Bar | 10 | 0% | 10 | EA | 52.5 | 31.5 | 525 | 315 | 840
437 |  |  | Robe Hook | 10 | 0% | 10 | EA | 24.5 | 17.5 | 245 | 175 | 420
Second Floor Level
| A6 |  | Fire Extinguishers
438 |  |  | Fire Extinguishers | 2 | 0% | 2 | EA | 129.5 | 66.5 | 259 | 133 | 392
Corner Guard
439 |  |  | Corner Guard | 4 | 0% | 4 | EA | 101.5 | 59.5 | 406 | 238 | 644
Signages
440 |  |  | Unit Name & Number Sign | 8 | 0% | 8 | EA | 66.5 | 38.5 | 532 | 308 | 840
441 |  |  | Stair & Elevator Sign | 6 | 0% | 6 | EA | 87.5 | 52.5 | 525 | 315 | 840
442 |  |  | Misc. Utility Sign | 2 | 0% | 2 | EA | 59.5 | 31.5 | 119 | 63 | 182
Bath Accessories
443 |  |  | Mirror | 8 | 0% | 8 | EA | 154 | 77 | 1232 | 616 | 1848
444 |  |  | Soap Dish | 8 | 0% | 8 | EA | 31.5 | 24.5 | 252 | 196 | 448
445 |  |  | Toilet Paper Holder | 8 | 0% | 8 | EA | 38.5 | 28 | 308 | 224 | 532
446 |  |  | Towel Bar | 8 | 0% | 8 | EA | 52.5 | 31.5 | 420 | 252 | 672
447 |  |  | Robe Hook | 8 | 0% | 8 | EA | 24.5 | 17.5 | 196 | 140 | 336
Third Floor Level
| A7 |  | Fire Extinguishers
448 |  |  | Fire Extinguishers | 2 | 0% | 2 | EA | 129.5 | 66.5 | 259 | 133 | 392
Corner Guard
449 |  |  | Corner Guard | 1 | 0% | 1 | EA | 101.5 | 59.5 | 101.5 | 59.5 | 161
Signages
450 |  |  | Unit Name & Number Sign | 2 | 0% | 2 | EA | 66.5 | 38.5 | 133 | 77 | 210
451 |  |  | Stair & Elevator Sign | 4 | 0% | 4 | EA | 87.5 | 52.5 | 350 | 210 | 560
452 |  |  | Misc. Utility Sign | 1 | 0% | 1 | EA | 59.5 | 31.5 | 59.5 | 31.5 | 91
Bath Accessories
453 |  |  | Mirror | 2 | 0% | 2 | EA | 154 | 77 | 308 | 154 | 462
454 |  |  | Soap Dish | 2 | 0% | 2 | EA | 31.5 | 24.5 | 63 | 49 | 112
455 |  |  | Toilet Paper Holder | 2 | 0% | 2 | EA | 38.5 | 28 | 77 | 56 | 133
456 |  |  | Towel Bar | 2 | 0% | 2 | EA | 52.5 | 31.5 | 105 | 63 | 168
457 |  |  | Robe Hook | 2 | 0% | 2 | EA | 24.5 | 17.5 | 49 | 35 | 84
|  |  | Subtotal | [9 empty] | 26971
|  | 11 | DIVISION 11- EQUIPMENTS
Ground Level Floor
458 | A4 |  | Electric Range w/ Range Hood | 10 | 0% | 10 | EA | 1995 | 315 | 19950 | 3150 | 23100
459 |  |  | Refrigerator | 10 | 0% | 10 | EA | 1680 | 175 | 16800 | 1750 | 18550
460 |  |  | Dish Washer | 10 | 0% | 10 | EA | 665 | 157.5 | 6650 | 1575 | 8225
461 |  |  | Microwave | 10 | 0% | 10 | EA | 455 | 122.5 | 4550 | 1225 | 5775
First Floor Level
462 | A5 |  | Electric Range w/ Range Hood | 10 | 0% | 10 | EA | 1995 | 315 | 19950 | 3150 | 23100
463 |  |  | Refrigerator | 10 | 0% | 10 | EA | 1680 | 175 | 16800 | 1750 | 18550
464 |  |  | Dish Washer | 10 | 0% | 10 | EA | 665 | 157.5 | 6650 | 1575 | 8225
465 |  |  | Microwave | 10 | 0% | 10 | EA | 455 | 122.5 | 4550 | 1225 | 5775
466 |  |  | Washer | 4 | 0% | 4 | EA | 805 | 157.5 | 3220 | 630 | 3850
467 |  |  | Dryer | 4 | 0% | 4 | EA | 735 | 157.5 | 2940 | 630 | 3570
Second Floor Level
468 | A6 |  | Electric Range w/ Range Hood | 8 | 0% | 8 | EA | 1995 | 315 | 15960 | 2520 | 18480
469 |  |  | Refrigerator | 8 | 0% | 8 | EA | 1680 | 175 | 13440 | 1400 | 14840
470 |  |  | Dish Washer | 8 | 0% | 8 | EA | 665 | 157.5 | 5320 | 1260 | 6580
471 |  |  | Microwave | 8 | 0% | 8 | EA | 455 | 122.5 | 3640 | 980 | 4620
Third Floor Level
472 | A7 |  | Electric Range w/ Range Hood | 2 | 0% | 2 | EA | 1995 | 315 | 3990 | 630 | 4620
473 |  |  | Refrigerator | 2 | 0% | 2 | EA | 1680 | 175 | 3360 | 350 | 3710
474 |  |  | Dish Washer | 2 | 0% | 2 | EA | 665 | 157.5 | 1330 | 315 | 1645
475 |  |  | Microwave | 2 | 0% | 2 | EA | 455 | 122.5 | 910 | 245 | 1155
|  |  | Subtotal | [9 empty] | 174370
|  | 12 | DIVISION 12- FURNISHINGS
Ground Level Floor
| A4 |  | Window Treatment
476 |  |  | Window Roller Shades | 50 | 0% | 50 | EA | 199.5 | 66.5 | 9975 | 3325 | 13300
Millwork
477 |  |  | 24"Dx3'0"H Kitchen Base Cabinet | 104 | 5% | 109.2 | LF | 297.5 | 129.5 | 32487 | 14141.4 | 46628.4
478 |  |  | 12"Dx3'0"H Kitchen Wall Cabinet | 150 | 5% | 157.5 | LF | 199.5 | 101.5 | 31421.25 | 15986.25 | 47407.5
Countertop
479 |  |  | Countertop at Kitchen | 250 | 5% | 262.5 | SF | 66.5 | 31.5 | 17456.25 | 8268.75 | 25725
Bike Rack
480 |  |  | Bicycle Rack | 28 | 0% | 28 | EA | 455 | 157.5 | 12740 | 4410 | 17150
Mail Box
481 |  |  | Mail Box | 1 | 0% | 1 | EA | 4550 | 1750 | 4550 | 1750 | 6300
First Floor Level
| A5 |  | Window Treatment
482 |  |  | Window Roller Shades | 49 | 0% | 49 | EA | 199.5 | 66.5 | 9775.5 | 3258.5 | 13034
Millwork
483 |  |  | 24"Dx3'0"H Kitchen Base Cabinet | 104 | 5% | 109.2 | LF | 297.5 | 129.5 | 32487 | 14141.4 | 46628.4
484 |  |  | 12"Dx3'0"H Kitchen Wall Cabinet | 150 | 5% | 157.5 | LF | 199.5 | 101.5 | 31421.25 | 15986.25 | 47407.5
Countertop
485 |  |  | Countertop at Kitchen | 250 | 5% | 262.5 | SF | 66.5 | 31.5 | 17456.25 | 8268.75 | 25725
Second Floor Level
| A6 |  | Window Treatment
486 |  |  | Window Roller Shades | 41 | 0% | 41 | EA | 199.5 | 66.5 | 8179.5 | 2726.5 | 10906
Millwork
487 |  |  | 24"Dx3'0"H Kitchen Base Cabinet | 82 | 5% | 86.1 | LF | 297.5 | 129.5 | 25614.75 | 11149.95 | 36764.7
488 |  |  | 12"Dx3'0"H Kitchen Wall Cabinet | 122 | 5% | 128.1 | LF | 199.5 | 101.5 | 25555.95 | 13002.15 | 38558.1
Countertop
489 |  |  | Countertop at Kitchen | 200 | 5% | 210 | SF | 66.5 | 31.5 | 13965 | 6615 | 20580
Third Floor Level
| A7 |  | Window Treatment
490 |  |  | Window Roller Shades | 11 | 0% | 11 | EA | 199.5 | 66.5 | 2194.5 | 731.5 | 2926
Millwork
491 |  |  | 24"Dx3'0"H Kitchen Base Cabinet | 25 | 5% | 26.25 | LF | 297.5 | 129.5 | 7809.375 | 3399.375 | 11208.75
492 |  |  | 12"Dx3'0"H Kitchen Wall Cabinet | 31 | 5% | 32.55 | LF | 199.5 | 101.5 | 6493.725 | 3303.825 | 9797.55
Countertop
493 |  |  | Countertop at Kitchen | 50 | 5% | 52.5 | SF | 66.5 | 31.5 | 3491.25 | 1653.75 | 5145
|  |  | Subtotal | [9 empty] | 425191.9
|  | 14 | DIVISION 14- CONVEYING SYSTEM
Elevator
494 | A4-A7 |  | Elevator - Cabin Size: 6'8"x4'3"x8'0"H - Ground Floor to Third Floor = 4 Run | 1 | 0% | 1 | EA | 101500 | 33600 | 101500 | 33600 | 135100
|  |  | Subtotal | [9 empty] | 135100
|  | 22 | DIVISION 22- PLUMBING
Ground Level
495 | A4 |  | Misc. Plumbing Work Incl. Fixtures, Piping, Fittings etc. - Bath = 10 EA - Kitchen = 10 EA | 1 | 0% | 1 | LS | 54600 | 43400 | 54600 | 43400 | 98000
First Floor Level
496 | A5 |  | Misc. Plumbing Work Incl. Fixtures, Piping, Fittings etc. - Bath = 10 EA - Kitchen = 10 EA - Common Laundry = 1 EA | 1 | 0% | 1 | LS | 58800 | 47600 | 58800 | 47600 | 106400
Second Floor Level
497 | A6 |  | Misc. Plumbing Work Incl. Fixtures, Piping, Fittings etc. - Bath = 8 EA - Kitchen = 1 EA | 1 | 0% | 1 | LS | 46200 | 36400 | 46200 | 36400 | 82600
Third Floor Level
498 | A7 |  | Misc. Plumbing Work Incl. Fixtures, Piping, Fittings etc. - Bath = 2 EA - Kitchen = 2 EA | 1 | 0% | 1 | LS | 12600 | 9800 | 12600 | 9800 | 22400
|  |  | Subtotal | [9 empty] | 309400
|  | 23 | DIVISION 23- HVAC
Ground Level
499 | A4 |  | Misc. HVAC Work Incl. Duct, Piping, Fittings, Equipment's etc. - Bath = 10 EA - Kitchen = 10 EA | 1 | 0% | 1 | LS | 80500 | 57400 | 80500 | 57400 | 137900
First Floor Level
500 | A5 |  | Misc. HVAC Work Incl. Duct, Piping, Fittings, Equipment's etc. - Bath = 10 EA - Kitchen = 10 EA - Common Laundry = 1 EA | 1 | 0% | 1 | LS | 85400 | 61600 | 85400 | 61600 | 147000
Second Floor Level
501 | A6 |  | Misc. HVAC Work Incl. Duct, Piping, Fittings, Equipment's etc. - Bath = 8 EA - Kitchen = 1 EA | 1 | 0% | 1 | LS | 67200 | 49700 | 67200 | 49700 | 116900
Third Floor Level
502 | A7 |  | Misc. HVAC Work Incl. Duct, Piping, Fittings, Equipment's etc. - Bath = 2 EA - Kitchen = 2 EA | 1 | 0% | 1 | LS | 19600 | 14000 | 19600 | 14000 | 33600
|  |  | Subtotal | [9 empty] | 435400
|  | 26 | DIVISION 26- ELECTRICAL
| A14 |  | Ground Floor
Cable And Conduit
Cable And Conduit For Lighting
503 |  |  | 2#12 AWG MC Cable | 1500 | 10% | 1650 | LF | 1.995 | 1.505 | 3291.75 | 2483.25 | 5775
504 |  |  | #12 AWG THHN | 4500 | 10% | 4950 | LF | 0.665 | 0.595 | 3291.75 | 2945.25 | 6237
505 |  |  | 3/4" EMT Conduit | 1500 | 10% | 1650 | LF | 1.575 | 1.925 | 2598.75 | 3176.25 | 5775
Cable And Conduit For Receptacle
506 |  |  | 2#12 AWG MC Cable | 3300 | 10% | 3630 | LF | 1.995 | 1.505 | 7241.85 | 5463.15 | 12705
Cable And Conduit For Mech
507 |  |  | #12 AWG THHN | 480 | 10% | 528 | LF | 0.665 | 0.595 | 351.12 | 314.16 | 665.28
508 |  |  | 3/4" EMT Conduit | 160 | 10% | 176 | LF | 1.575 | 1.925 | 277.2 | 338.8 | 616
Feeder
Feeder From Utility Xfmr To Meter Center (10 Sets)
509 |  |  | #600 KCMIL THWN | 4000 | 10% | 4400 | LF | 12.95 | 6.65 | 56980 | 29260 | 86240
510 |  |  | #500 KCMIL THWN | 1000 | 10% | 1100 | LF | 10.15 | 5.95 | 11165 | 6545 | 17710
511 |  |  | 4" SCH 40 PVC | 1000 | 10% | 1100 | LF | 8.75 | 7.35 | 9625 | 8085 | 17710
Feeder From Meter Center To 200A Electric Panel
512 |  |  | #3/0 AWG THHN | 40 | 10% | 44 | LF | 5.95 | 3.85 | 261.8 | 169.4 | 431.2
513 |  |  | #6 AWG THHN | 10 | 10% | 11 | LF | 1.295 | 1.015 | 14.245 | 11.165 | 25.41
514 |  |  | 2 1/2" EMT Conduit | 10 | 10% | 11 | LF | 5.95 | 5.25 | 65.45 | 57.75 | 123.2
Feeder From Meter Center to 125A Electric Panel
515 |  |  | #1 AWG THHN | 2640 | 10% | 2904 | LF | 2.975 | 2.205 | 8639.4 | 6403.32 | 15042.72
516 |  |  | #6 AWG THHN | 880 | 10% | 968 | LF | 1.295 | 1.015 | 1253.56 | 982.52 | 2236.08
517 |  |  | 1 1/2" EMT Conduit | 880 | 10% | 968 | LF | 3.85 | 3.15 | 3726.8 | 3049.2 | 6776
Digital Lighting Control
518 |  |  | Wall Mounted Vacancy Sensor Switch | 11 | 0% | 11 | EA | 87.5 | 45.5 | 962.5 | 500.5 | 1463
519 |  |  | Single Pole Switch | 69 | 0% | 69 | EA | 12.6 | 11.2 | 869.4 | 772.8 | 1642.2
Panelboard
520 |  |  | 200A, 120/240V, 3PH, 4W Electric Panel | 1 | 0% | 1 | EA | 4760 | 2240 | 4760 | 2240 | 7000
521 |  |  | 125A, 120/240V, 1PH, 3W Electric Panel | 10 | 0% | 10 | EA | 1575 | 805 | 15750 | 8050 | 23800
Wiring Devices
522 |  |  | AFCI Duplex Receptacle | 120 | 0% | 120 | EA | 26.6 | 19.6 | 3192 | 2352 | 5544
523 |  |  | GFCI Duplex Receptacle | 70 | 0% | 70 | EA | 33.6 | 22.4 | 2352 | 1568 | 3920
Disconnect Switches
524 |  |  | Exhaust Fan | 10 | 0% | 10 | EA | 297.5 | 157.5 | 2975 | 1575 | 4550
Metering
525 |  |  | Meter Bank - (31) 125A Electric Meter - (1) 200A Electric Meter - (31) 125A Circuit Breaker - (1) 200A Circuit Breaker | 1 | 0% | 1 | EA | 19600 | 8400 | 19600 | 8400 | 28000
Lighting
526 |  |  | Recessed Ceiling Fixtures High Efficiency Controlled By Motion And Daylight Sensor | 36 | 0% | 36 | EA | 199.5 | 101.5 | 7182 | 3654 | 10836
527 |  |  | Recessed Ceiling Fixtures High Efficiency | 192 | 0% | 192 | EA | 115.5 | 66.5 | 22176 | 12768 | 34944
528 |  |  | Wall Mounted Outdoor Lighting | 30 | 0% | 30 | EA | 227.5 | 101.5 | 6825 | 3045 | 9870
529 |  |  | Dual Head Decorative Streetlight | 3 | 0% | 3 | EA | 2660 | 1155 | 7980 | 3465 | 11445
Fire Alarm Devices
530 |  |  | Combo Smoke/Carbon Monoxide Detector | 10 | 0% | 10 | EA | 101.5 | 59.5 | 1015 | 595 | 1610
531 |  |  | Smoke Detector | 20 | 0% | 20 | EA | 59.5 | 45.5 | 1190 | 910 | 2100
532 |  |  | 2#12 AWG MC Cable | 500 | 10% | 550 | LF | 1.995 | 1.505 | 1097.25 | 827.75 | 1925
| A15 |  | First Floor
Cable And Conduit
Cable And Conduit For Lighting
533 |  |  | 2#12 AWG MC Cable | 1500 | 10% | 1650 | LF | 1.995 | 1.505 | 3291.75 | 2483.25 | 5775
534 |  |  | #12 AWG THHN | 1800 | 10% | 1980 | LF | 0.665 | 0.595 | 1316.7 | 1178.1 | 2494.8
535 |  |  | 3/4" EMT Conduit | 600 | 10% | 660 | LF | 1.575 | 1.925 | 1039.5 | 1270.5 | 2310
Cable And Conduit For Receptacle
536 |  |  | 2#12 AWG MC Cable | 3300 | 10% | 3630 | LF | 1.995 | 1.505 | 7241.85 | 5463.15 | 12705
537 |  |  | #12 AWG THHN | 2100 | 10% | 2310 | LF | 0.665 | 0.595 | 1536.15 | 1374.45 | 2910.6
538 |  |  | 3/4" EMT Conduit | 700 | 10% | 770 | LF | 1.575 | 1.925 | 1212.75 | 1482.25 | 2695
Feeder
Feeder From Meter Center To 125A Electric Panel
539 |  |  | #1 AWG THHN | 3300 | 10% | 3630 | LF | 2.975 | 2.205 | 10799.25 | 8004.15 | 18803.4
540 |  |  | #6 AWG THHN | 1100 | 10% | 1210 | LF | 1.295 | 1.015 | 1566.95 | 1228.15 | 2795.1
541 |  |  | 1 1/2" EMT Conduit | 1100 | 10% | 1210 | LF | 3.85 | 3.15 | 4658.5 | 3811.5 | 8470
Digital Lighting Control
542 |  |  | Wall Mounted Vacancy Sensor Switch | 8 | 0% | 8 | EA | 87.5 | 45.5 | 700 | 364 | 1064
543 |  |  | Single Pole Switch | 74 | 0% | 74 | EA | 12.6 | 11.2 | 932.4 | 828.8 | 1761.2
Panelboard
544 |  |  | 125A, 120/240V, 1PH, 3W Electric Panel | 11 | 0% | 11 | EA | 1575 | 805 | 17325 | 8855 | 26180
Wiring Devices
545 |  |  | AFCI Duplex Receptacle | 75 | 0% | 75 | EA | 26.6 | 19.6 | 1995 | 1470 | 3465
546 |  |  | GFCI Duplex Receptacle | 127 | 0% | 127 | EA | 33.6 | 22.4 | 4267.2 | 2844.8 | 7112
Disconnect Switches
547 |  |  | Exhaust Fan | 10 | 0% | 10 | EA | 297.5 | 157.5 | 2975 | 1575 | 4550
Lighting
548 |  |  | Recessed Ceiling Fixtures High Efficiency Controlled By Motion And Daylight Sensor | 36 | 0% | 36 | EA | 199.5 | 101.5 | 7182 | 3654 | 10836
549 |  |  | Recessed Ceiling Fixtures High Efficiency | 196 | 0% | 196 | EA | 115.5 | 66.5 | 22638 | 13034 | 35672
550 |  |  | Wall Mounted Outdoor Lighting | 2 | 0% | 2 | EA | 227.5 | 101.5 | 455 | 203 | 658
Fire Alarm Devices
551 |  |  | Combo Smoke/Carbon Monoxide Detector | 10 | 0% | 10 | EA | 101.5 | 59.5 | 1015 | 595 | 1610
552 |  |  | Smoke Detector | 22 | 0% | 22 | EA | 59.5 | 45.5 | 1309 | 1001 | 2310
553 |  |  | 2#12 AWG MC Cable | 500 | 10% | 550 | LF | 1.995 | 1.505 | 1097.25 | 827.75 | 1925
554 |  |  | #12 AWG THHN | 600 | 10% | 660 | LF | 0.665 | 0.595 | 438.9 | 392.7 | 831.6
555 |  |  | 3/4" EMT Conduit | 200 | 10% | 220 | LF | 1.575 | 1.925 | 346.5 | 423.5 | 770
| A16 |  | SECOND FLOOR
Cable And Conduit
Cable And Conduit For Lighting
556 |  |  | 2#12 AWG MC Cable | 1200 | 10% | 1320 | LF | 1.995 | 1.505 | 2633.4 | 1986.6 | 4620
557 |  |  | #12 AWG THHN | 2400 | 10% | 2640 | LF | 0.665 | 0.595 | 1755.6 | 1570.8 | 3326.4
558 |  |  | 3/4" EMT Conduit | 800 | 10% | 880 | LF | 1.575 | 1.925 | 1386 | 1694 | 3080
Cable And Conduit For Receptacle
559 |  |  | 2#12 AWG MC Cable | 2700 | 10% | 2970 | LF | 1.995 | 1.505 | 5925.15 | 4469.85 | 10395
560 |  |  | #12 AWG THHN | 1950 | 10% | 2145 | LF | 0.665 | 0.595 | 1426.425 | 1276.275 | 2702.7
561 |  |  | 3/4" EMT Conduit | 650 | 10% | 715 | LF | 1.575 | 1.925 | 1126.125 | 1376.375 | 2502.5
Feeder
Feeder From Meter Center To 125A Electric Panel
562 |  |  | #1 AWG THHN | 2340 | 10% | 2574 | LF | 2.975 | 2.205 | 7657.65 | 5675.67 | 13333.32
563 |  |  | #6 AWG THHN | 780 | 10% | 858 | LF | 1.295 | 1.015 | 1111.11 | 870.87 | 1981.98
564 |  |  | 1 1/2" EMT Conduit | 780 | 10% | 858 | LF | 3.85 | 3.15 | 3303.3 | 2702.7 | 6006
Digital Lighting Control
565 |  |  | Wall Mounted Vacancy Sensor Switch | 6 | 0% | 6 | EA | 87.5 | 45.5 | 525 | 273 | 798
566 |  |  | Single Pole Switch | 63 | 0% | 63 | EA | 12.6 | 11.2 | 793.8 | 705.6 | 1499.4
Panelboard
567 |  |  | 125A, 120/240V, 1PH, 3W Electric Panel | 8 | 0% | 8 | EA | 1575 | 805 | 12600 | 6440 | 19040
Wiring Devices
568 |  |  | AFCI Duplex Receptacle | 104 | 0% | 104 | EA | 26.6 | 19.6 | 2766.4 | 2038.4 | 4804.8
569 |  |  | GFCI Duplex Receptacle | 56 | 0% | 56 | EA | 33.6 | 22.4 | 1881.6 | 1254.4 | 3136
Disconnect Switches
570 |  |  | Exhaust Fan | 8 | 0% | 8 | EA | 297.5 | 157.5 | 2380 | 1260 | 3640
Lighting
571 |  |  | Recessed Ceiling Fixtures High Efficiency Controlled By Motion And Daylight Sensor | 28 | 0% | 28 | EA | 199.5 | 101.5 | 5586 | 2842 | 8428
572 |  |  | Recessed Ceiling Fixtures High Efficiency | 154 | 0% | 154 | EA | 115.5 | 66.5 | 17787 | 10241 | 28028
573 |  |  | Wall Mounted Outdoor Lighting | 5 | 0% | 5 | EA | 227.5 | 101.5 | 1137.5 | 507.5 | 1645
574 |  |  | Dual Head Decorative Streetlight | 2 | 0% | 2 | EA | 2660 | 1155 | 5320 | 2310 | 7630
Fire Alarm Devices
575 |  |  | Combo Smoke/Carbon Monoxide Detector | 2 | 0% | 2 | EA | 101.5 | 59.5 | 203 | 119 | 322
576 |  |  | Smoke Detector | 17 | 0% | 17 | EA | 59.5 | 45.5 | 1011.5 | 773.5 | 1785
577 |  |  | 2#12 AWG MC Cable | 400 | 10% | 440 | LF | 1.995 | 1.505 | 877.8 | 662.2 | 1540
578 |  |  | #12 AWG THHN | 600 | 10% | 660 | LF | 0.665 | 0.595 | 438.9 | 392.7 | 831.6
579 |  |  | 3/4" EMT Conduit | 200 | 10% | 220 | LF | 1.575 | 1.925 | 346.5 | 423.5 | 770
| A17 |  | Third Floor
Cable And Conduit
Cable And Conduit For Lighting
580 |  |  | 2#12 AWG MC Cable | 300 | 10% | 330 | LF | 1.995 | 1.505 | 658.35 | 496.65 | 1155
581 |  |  | #12 AWG THHN | 1800 | 10% | 1980 | LF | 0.665 | 0.595 | 1316.7 | 1178.1 | 2494.8
582 |  |  | 3/4" EMT Conduit | 600 | 10% | 660 | LF | 1.575 | 1.925 | 1039.5 | 1270.5 | 2310
Cable And Conduit For Receptacle
583 |  |  | 2#12 AWG MC Cable | 700 | 10% | 770 | LF | 1.995 | 1.505 | 1536.15 | 1158.85 | 2695
584 |  |  | #12 AWG THHN | 660 | 10% | 726 | LF | 0.665 | 0.595 | 482.79 | 431.97 | 914.76
585 |  |  | 3/4" EMT Conduit | 220 | 10% | 242 | LF | 1.575 | 1.925 | 381.15 | 465.85 | 847
Cable And Conduit For Mech
586 |  |  | #10 AWG THHN | 8100 | 10% | 8910 | LF | 1.015 | 0.77 | 9043.65 | 6860.7 | 15904.35
587 |  |  | 3/4" EMT Conduit | 2700 | 10% | 2970 | LF | 1.575 | 1.925 | 4677.75 | 5717.25 | 10395
Feeder
Feeder From Meter Center To 125A Electric Panel
588 |  |  | #1 AWG THHN | 450 | 10% | 495 | LF | 2.975 | 2.205 | 1472.625 | 1091.475 | 2564.1
589 |  |  | #6 AWG THHN | 150 | 10% | 165 | LF | 1.295 | 1.015 | 213.675 | 167.475 | 381.15
590 |  |  | 1 1/2" EMT Conduit | 150 | 10% | 165 | LF | 3.85 | 3.15 | 635.25 | 519.75 | 1155
Digital Lighting Control
591 |  |  | Wall Mounted Vacancy Sensor Switch | 2 | 0% | 2 | EA | 87.5 | 45.5 | 175 | 91 | 266
592 |  |  | Single Pole Switch | 17 | 0% | 17 | EA | 12.6 | 11.2 | 214.2 | 190.4 | 404.6
Panelboard
593 |  |  | 125A, 120/240V, 1PH, 3W Electric Panel | 2 | 0% | 2 | EA | 1575 | 805 | 3150 | 1610 | 4760
Wiring Devices
594 |  |  | AFCI Duplex Receptacle | 32 | 0% | 32 | EA | 26.6 | 19.6 | 851.2 | 627.2 | 1478.4
595 |  |  | GFCI Duplex Receptacle | 14 | 0% | 14 | EA | 33.6 | 22.4 | 470.4 | 313.6 | 784
Disconnect Switches
596 |  |  | Equipment Connection | 31 | 0% | 31 | EA | 129.5 | 101.5 | 4014.5 | 3146.5 | 7161
597 |  |  | Exhaust Fan | 20 | 0% | 20 | EA | 297.5 | 157.5 | 5950 | 3150 | 9100
Lighting
598 |  |  | Recessed Ceiling Fixtures High Efficiency Controlled By Motion And Daylight Sensor | 11 | 0% | 11 | EA | 199.5 | 101.5 | 2194.5 | 1116.5 | 3311
599 |  |  | Recessed Ceiling Fixtures High Efficiency | 46 | 0% | 46 | EA | 115.5 | 66.5 | 5313 | 3059 | 8372
600 |  |  | Wall Mounted Outdoor Lighting | 5 | 0% | 5 | EA | 227.5 | 101.5 | 1137.5 | 507.5 | 1645
601 |  |  | Dual Head Decorative Streetlight | 12 | 0% | 12 | EA | 2660 | 1155 | 31920 | 13860 | 45780
Fire Alarm Devices
602 |  |  | Combo Smoke/Carbon Monoxide Detector | 2 | 0% | 2 | EA | 101.5 | 59.5 | 203 | 119 | 322
603 |  |  | Smoke Detector | 6 | 0% | 6 | EA | 59.5 | 45.5 | 357 | 273 | 630
604 |  |  | 2#12 AWG MC Cable | 100 | 10% | 110 | LF | 1.995 | 1.505 | 219.45 | 165.55 | 385
605 |  |  | #12 AWG THHN | 300 | 10% | 330 | LF | 0.665 | 0.595 | 219.45 | 196.35 | 415.8
606 |  |  | 3/4" EMT Conduit | 100 | 10% | 110 | LF | 1.575 | 1.925 | 173.25 | 211.75 | 385
|  |  | Subtotal | [9 empty] | 742282.45
|  |  | Total Material Cost | [6 empty] | 3662252.7072
|  |  | Total Labor Cost | [7 empty] | 2735342.3877
|  |  | TOTAL TRADE COST | [9 empty] | 6397595.0949
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  | 319879.7547
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  | 639759.5095
|  |  | TAX (8.5%) | [7 empty] | 8.5% |  | 543795.5831
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  | 95963.9264
|  |  | TOTAL BASEBID | [9 empty] | 7996993.8686

## Summary
GENERAL SUMMARY
Project Name | Commercial
Project Address | 0
Date: | 2026-05-11
|  | Overall SF | Cost per SF
|  | 17790 | 449.5219
Total Area |  |  | 17790
Total Building Area (SF) | 17790 | No. of Floors: | 4
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | COST/ SF
1000 | General Requirements | 0 | 0
2000 | Existing Condition | 393942.8164 | 876.3596
3000 | Concrete | 194461.645 | 432.5966
4000 | Masonry | 127971.7908 | 284.6842
5000 | Metals | 191203.586 | 425.3488
6000 | Wood, Plastic & Composites | 452292.2005 | 1006.1629
7000 | Thermal & Moisture Protection | 569145.2592 | 1266.1125
8000 | Openings | 552048 | 1228.0782
9000 | Finishes | 1667814.447 | 3710.1965
10000 | Specialties | 26971 | 59.9993
11000 | Equipment | 174370 | 387.901
12000 | Furnishings | 425191.9 | 945.8759
14000 | Conveying System | 135100 | 300.5416
22000 | Plumbing | 309400 | 688.2869
23000 | HVAC | 435400 | 968.5847
26000 | Electrical | 742282.45 | 1651.2711
TOTAL TRADE COST |  | 6397595.0949 | 14232
CONTINGENCY | 5% | 319879.7547 | 711.6
OVERHEAD & PROFIT | 10% | 639759.5095 | 1423.2
TAX | 8.5% | 543795.5831 | 1209.72
PERFROMANCE & PAYMENT BOND | 1.5% | 95963.9264 | 213.48
TOTAL TRADE COST |  | 7996993.8686 | 17790