## DETAILED BREAKDOWN
Project Name: |  |  | HVAC |  |  | Address:
[12 empty] | DATE | 2026-06-26
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | Units | Unit Cost of Material | Unit Cost of Labor | Total Cost of Material | Total Cost of Labor | TOTAL COST | TRADE TOTAL
|  | 1000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [9 empty] | 0
|  | 23 | DIVISION 23- HVAC
Note: The estimate is based on both old and revised drawings. Penthouse details were taken from the previous drawings, as the revised set did not include complete penthouse details.
Demolition
7 | M102 |  | Remove existing Duct | 112.2 | 0% | 112.2 | LF | 2 | 13 | 224.4 | 1458.6 | 1683
Level One
Duct
8 | M201A-M201B |  | 24x64 Supply Air | 12.4 | 5% | 13.02 | LF | 185 | 145 | 2408.7 | 1887.9 | 4296.6
9 |  |  | 28x60 Return Air | 10 | 5% | 10.5 | LF | 190 | 150 | 1995 | 1575 | 3570
10 |  |  | 5"x5" Exhaust Air Duct | 40 | 5% | 42 | LF | 28 | 24 | 1176 | 1008 | 2184
11 |  |  | 6"x6" Exhaust Air Duct | 35 | 5% | 36.75 | LF | 32 | 27 | 1176 | 992.25 | 2168.25
12 |  |  | 8"x8" Exhaust Air Duct | 110 | 5% | 115.5 | LF | 42 | 34 | 4851 | 3927 | 8778
13 |  |  | 10"x10" Exhaust Air Duct | 69 | 5% | 72.45 | LF | 52 | 42 | 3767.4 | 3042.9 | 6810.3
14 |  |  | 14"x10" Exhaust Air Duct | 2 | 5% | 2.1 | LF | 62 | 50 | 130.2 | 105 | 235.2
15 |  |  | 14"x14" Exhaust Air Duct | 119 | 5% | 124.95 | LF | 78 | 58 | 9746.1 | 7247.1 | 16993.2
16 |  |  | Misc. Duct Transition | 1 | 0% | 1 | LS | 4500 | 3500 | 4500 | 3500 | 8000
Duct Insulation
17 | M201 |  | Duct Insulation | 330 | 5% | 346.5 | SF | 4.5 | 5.5 | 1559.25 | 1905.75 | 3465
Variable Volume Reheat Terminal Unit
18 | M201A-M201B | VVR-1 | Variable Volume Reheat Terminal Unit VVR-1 - Mfr.: Titus - Model#: DESV - Capacity: 50CFM - Incl. All Accessories | 1 | 0% | 1 | EA | 2250 | 850 | 2250 | 850 | 3100
19 |  | VVR-2 | Variable Volume Reheat Terminal Unit VVR-2 - Mfr.: Titus - Model#: DESV - Capacity: 70CFM - Incl. All Accessories | 5 | 0% | 5 | EA | 2350 | 875 | 11750 | 4375 | 16125
20 |  | VVR-3 | Variable Volume Reheat Terminal Unit VVR-3 - Mfr.: Titus - Model#: DESV - Capacity: 100CFM - Incl. All Accessories | 8 | 0% | 8 | EA | 2450 | 900 | 19600 | 7200 | 26800
21 |  | VVR-4 | Variable Volume Reheat Terminal Unit VVR-4 - Mfr.: Titus - Model#: DESV - Capacity: 135CFM - Incl. All Accessories | 6 | 0% | 6 | EA | 2550 | 925 | 15300 | 5550 | 20850
22 |  | VVR-5 | Variable Volume Reheat Terminal Unit VVR-5 - Mfr.: Titus - Model#: DESV - Capacity: 170CFM - Incl. All Accessories | 4 | 0% | 4 | EA | 2700 | 950 | 10800 | 3800 | 14600
23 |  | VVR-6 | Variable Volume Reheat Terminal Unit VVR-6 - Mfr.: Titus - Model#: DESV - Capacity: 225CFM - Incl. All Accessories | 2 | 0% | 2 | EA | 2950 | 1000 | 5900 | 2000 | 7900
24 |  | VVR-7 | Variable Volume Reheat Terminal Unit VVR-7 - Mfr.: Titus - Model#: DESV - Capacity: 305CFM - Incl. All Accessories | 8 | 0% | 8 | EA | 3250 | 1050 | 26000 | 8400 | 34400
Level Two
Duct
25 | M202A-202B |  | 24x64 Supply Air | 27.1 | 5% | 28.455 | LF | 185 | 145 | 5264.175 | 4125.975 | 9390.15
26 |  |  | 24x84 Supply Air | 10 | 5% | 10.5 | LF | 245 | 180 | 2572.5 | 1890 | 4462.5
27 |  |  | 24x82 Supply Air | 12.8 | 5% | 13.44 | LF | 240 | 178 | 3225.6 | 2392.32 | 5617.92
28 |  |  | 24x81 Supply Air | 8.6 | 5% | 9.03 | LF | 238 | 176 | 2149.14 | 1589.28 | 3738.42
29 |  |  | 24x63 Supply Air | 17.7 | 5% | 18.585 | LF | 182 | 142 | 3382.47 | 2639.07 | 6021.54
30 |  |  | 28x60 Return Air | 10 | 5% | 10.5 | LF | 190 | 150 | 1995 | 1575 | 3570
31 |  |  | 32x60 Return Air | 31.1 | 5% | 32.655 | LF | 220 | 165 | 7184.1 | 5388.075 | 12572.175
32 |  |  | 32x84 Return Air | 14.9 | 5% | 15.645 | LF | 285 | 205 | 4458.825 | 3207.225 | 7666.05
33 |  |  | 24x84 Return Air | 10 | 5% | 10.5 | LF | 245 | 180 | 2572.5 | 1890 | 4462.5
34 |  |  | 5"x5" Exhaust Air Duct | 68.6 | 5% | 72.03 | LF | 28 | 24 | 2016.84 | 1728.72 | 3745.56
35 |  |  | 6"x6" Exhaust Air Duct | 58 | 5% | 60.9 | LF | 32 | 27 | 1948.8 | 1644.3 | 3593.1
36 |  |  | 7"x7" Exhaust Air Duct | 40 | 5% | 42 | LF | 37 | 30 | 1554 | 1260 | 2814
37 |  |  | 8"x8" Exhaust Air Duct | 4 | 5% | 4.2 | LF | 42 | 34 | 176.4 | 142.8 | 319.2
38 |  |  | 9"x9" Exhaust Air Duct | 100 | 5% | 105 | LF | 47 | 38 | 4935 | 3990 | 8925
39 |  |  | 12"x12" Exhaust Air Duct | 13 | 5% | 13.65 | LF | 62 | 50 | 846.3 | 682.5 | 1528.8
40 |  |  | Misc. Duct Transition | 1 | 0% | 1 | LS | 7500 | 5500 | 7500 | 5500 | 13000
Damper
41 | M202 |  | 32x60 Fire smoke Damper | 1 | 0% | 1 | EA | 2850 | 1250 | 2850 | 1250 | 4100
Duct Insulation
42 | M202 |  | Duct Insulation | 2304.442 | 5% | 2419.6641 | SF | 4.5 | 5.5 | 10888.4885 | 13308.1525 | 24196.641
Variable Volume Reheat Terminal Unit
43 | M202A-202B | VVR-1 | Variable Volume Reheat Terminal Unit VVR-1 - Mfr.: Titus - Model#: DESV - Capacity: 50CFM - Incl. All Accessories | 3 | 0% | 3 | EA | 2250 | 850 | 6750 | 2550 | 9300
44 |  | VVR-2 | Variable Volume Reheat Terminal Unit VVR-2 - Mfr.: Titus - Model#: DESV - Capacity: 70CFM - Incl. All Accessories | 4 | 0% | 4 | EA | 2350 | 875 | 9400 | 3500 | 12900
45 |  | VVR-3 | Variable Volume Reheat Terminal Unit VVR-3 - Mfr.: Titus - Model#: DESV - Capacity: 100CFM - Incl. All Accessories | 4 | 0% | 4 | EA | 2450 | 900 | 9800 | 3600 | 13400
46 |  | VVR-4 | Variable Volume Reheat Terminal Unit VVR-4 - Mfr.: Titus - Model#: DESV - Capacity: 135CFM - Incl. All Accessories | 10 | 0% | 10 | EA | 2550 | 925 | 25500 | 9250 | 34750
47 |  | VVR-5 | Variable Volume Reheat Terminal Unit VVR-5 - Mfr.: Titus - Model#: DESV - Capacity: 170CFM - Incl. All Accessories | 9 | 0% | 9 | EA | 2700 | 950 | 24300 | 8550 | 32850
48 |  | VVR-6 | Variable Volume Reheat Terminal Unit VVR-6 - Mfr.: Titus - Model#: DESV - Capacity: 225CFM - Incl. All Accessories | 3 | 0% | 3 | EA | 2950 | 1000 | 8850 | 3000 | 11850
49 |  | VVR-7 | Variable Volume Reheat Terminal Unit VVR-7 - Mfr.: Titus - Model#: DESV - Capacity: 305CFM - Incl. All Accessories | 3 | 0% | 3 | EA | 3250 | 1050 | 9750 | 3150 | 12900
50 |  | VVR-9 | Variable Volume Reheat Terminal Unit VVR-9 - Mfr.: Titus - Model#: DESV - Capacity: 570CFM - Incl. All Accessories | 2 | 0% | 2 | EA | 3950 | 1250 | 7900 | 2500 | 10400
Roof/Penthouse Floor
Duct
51 | M401 |  | 96x34 Return Air Duct | 10 | 5% | 10.5 | LF | 405 | 285 | 4252.5 | 2992.5 | 7245
52 |  |  | 96x28 Return Air Duct | 49 | 5% | 51.45 | LF | 365 | 260 | 18779.25 | 13377 | 32156.25
53 |  |  | 86x28 Return Air Duct | 25.9 | 5% | 27.195 | LF | 340 | 245 | 9246.3 | 6662.775 | 15909.075
54 |  |  | 72x32 Supply Air Duct | 10 | 5% | 10.5 | LF | 330 | 240 | 3465 | 2520 | 5985
55 |  |  | 56x36 Supply Air Duct | 14.2 | 5% | 14.91 | LF | 310 | 225 | 4622.1 | 3354.75 | 7976.85
56 |  |  | 96x28 Supply Air Duct | 23.1 | 5% | 24.255 | LF | 365 | 260 | 8853.075 | 6306.3 | 15159.375
57 |  |  | 36x16 Supply Air Duct | 27.9 | 5% | 29.295 | LF | 135 | 95 | 3954.825 | 2783.025 | 6737.85
58 |  |  | 86x28 Relief Air Duct | 17 | 5% | 17.85 | LF | 340 | 245 | 6069 | 4373.25 | 10442.25
59 |  |  | 60x28 Supply Air Duct | 15.7 | 5% | 16.485 | LF | 270 | 195 | 4450.95 | 3214.575 | 7665.525
60 |  |  | 20x24 Supply Air Duct | 39.4 | 5% | 41.37 | LF | 105 | 78 | 4343.85 | 3226.86 | 7570.71
61 |  |  | 6" Dia Inlet / Vent Air Duct | 188 | 5% | 197.4 | LF | 32 | 27 | 6316.8 | 5329.8 | 11646.6
62 |  |  | Misc. Duct Transition | 1 | 0% | 1 | LS | 18500 | 12500 | 18500 | 12500 | 31000
Damper
63 | M401 |  | 80x44 Out air Damper | 3 | 5% | 3.15 | EA | 4250 | 1650 | 13387.5 | 5197.5 | 18585
64 |  |  | 96x42 Return Air Auto Damper | 1 | 5% | 1.05 | EA | 5800 | 2100 | 6090 | 2205 | 8295
65 |  |  | 80x44 Return Air Auto Damper | 1 | 5% | 1.05 | EA | 4950 | 1850 | 5197.5 | 1942.5 | 7140
66 |  |  | 120x32 Return Air Auto Damper | 1 | 5% | 1.05 | EA | 6250 | 2250 | 6562.5 | 2362.5 | 8925
67 |  |  | 86x28 Relief Air Damper | 1 | 5% | 1.05 | EA | 3650 | 1450 | 3832.5 | 1522.5 | 5355
68 |  |  | 96x28 Relief Air Damper | 2 | 5% | 2.1 | EA | 4100 | 1550 | 8610 | 3255 | 11865
69 |  |  | 86x28 Relief Air Bypass Damper | 1 | 5% | 1.05 | EA | 3850 | 1500 | 4042.5 | 1575 | 5617.5
70 |  |  | 96x28 Relief Air Bypass Damper | 2 | 5% | 2.1 | EA | 4250 | 1600 | 8925 | 3360 | 12285
71 |  |  | Barometric Relief Damper on Relief Fan | 3 | 5% | 3.15 | EA | 1850 | 850 | 5827.5 | 2677.5 | 8505
Duct Insulation
72 | M401 |  | Duct Insulation | 3681.202 | 5% | 3865.2621 | SF | 4.5 | 5.5 | 17393.6795 | 21258.9416 | 38652.621
PIPING
73 | M401 |  | 3/4" Dia HWR Pipe | 92.7 | 0% | 92.7 | LF | 16 | 20 | 1483.2 | 1854 | 3337.2
74 |  |  | 3/4" Dia HWS Pipe | 84.5 | 0% | 84.5 | LF | 16 | 20 | 1352 | 1690 | 3042
75 |  |  | 2 1/2" Dia HWR Pipe | 96.4 | 0% | 96.4 | LF | 48 | 38 | 4627.2 | 3663.2 | 8290.4
76 |  |  | 2 1/2" Dia HWS Pipe | 101.1 | 0% | 101.1 | LF | 48 | 38 | 4852.8 | 3841.8 | 8694.6
77 |  |  | 3" Dia HWR Pipe | 49.8 | 0% | 49.8 | LF | 58 | 44 | 2888.4 | 2191.2 | 5079.6
78 |  |  | 3" Dia HWS Pipe | 57 | 0% | 57 | LF | 58 | 44 | 3306 | 2508 | 5814
79 |  |  | 3" Dia Shut-off Valve | 2 | 0% | 2 | EA | 525 | 275 | 1050 | 550 | 1600
80 |  |  | Refrigerant Piping | 175 | 0% | 175 | LF | 42 | 48 | 7350 | 8400 | 15750
VFD-RF-14
81 | M401 | VFD-RF-14 | Variable Frequency Drive VFD | 6 | 0% | 6 | EA | 3250 | 950 | 19500 | 5700 | 25200
Chiller
82 | M401 | CH-1 | Chiller CH-1 - Capacity: 150 Ton | 1 | 0% | 1 | EA | 165000 | 32000 | 165000 | 32000 | 197000
83 |  | CH-2 | Chiller CH-2 - Capacity: 150 Ton | 1 | 0% | 1 | EA | 165000 | 32000 | 165000 | 32000 | 197000
UH-14
84 | M401 | UH-14-1 | Unit Heater UH-14-1 | 4 | 0% | 4 | EA | 1950 | 850 | 7800 | 3400 | 11200
Air Handling Unit
85 | M401 | AH-14-1 | Air Handling Unit AH-14-1 - Capacity: 65 Ton | 1 | 0% | 1 | EA | 92500 | 22500 | 92500 | 22500 | 115000
86 |  | AH-14-2 | Air Handling Unit AH-14-2 - Capacity: 65 Ton | 1 | 0% | 1 | EA | 92500 | 22500 | 92500 | 22500 | 115000
87 |  | AH-14-3 | Air Handling Unit AH-14-3 - Capacity: 65 Ton | 1 | 0% | 1 | EA | 92500 | 22500 | 92500 | 22500 | 115000
Relief Fan
88 | M401 | RF-14-1 | Relief Fan RF-14-1 | 1 | 0% | 1 | EA | 5500 | 1850 | 5500 | 1850 | 7350
89 |  | RF-14-2 | Relief Fan RF-14-2 | 1 | 0% | 1 | EA | 5500 | 1850 | 5500 | 1850 | 7350
90 |  | RF-14-3 | Relief Fan RF-14-3 | 1 | 0% | 1 | EA | 5500 | 1850 | 5500 | 1850 | 7350
Note: Detail not given, VIF
Ventilation Fan
91 | M401 | VF-14-1 | Ventilation Fan VF-14-1 | 1 | 0% | 1 | EA | 4250 | 1650 | 4250 | 1650 | 5900
Note: Detail not given, VIF
Boiler
92 | M401 | B-1 | Boiler B-1 - Mfr.: AERCO - Model#: Benchmark 1500 - Incl. All Accessories | 1 | 0% | 1 | EA | 68000 | 18500 | 68000 | 18500 | 86500
93 |  | B-2 | Boiler B-2 - Mfr.: AERCO - Model#: Benchmark 1500 - Incl. All Accessories | 1 | 0% | 1 | EA | 68000 | 18500 | 68000 | 18500 | 86500
Condensing Unit
94 | M401 | CU-1 | Condensing Unit CU-1 - Mfr.: Daikin - Model#: RXV36AVJU9 - Capacity: 3.0Ton - Incl. All Accessories | 1 | 0% | 1 | EA | 4250 | 1650 | 4250 | 1650 | 5900
95 |  | CU-2 | Condensing Unit CU-2 - Mfr.: Daikin - Model#: RXV36AVJU9 - Capacity: 3.0Ton - Incl. All Accessories | 1 | 0% | 1 | EA | 4250 | 1650 | 4250 | 1650 | 5900
A/C
96 | M401 | AC-1 | Air Conditioning Unit AC-1 - Mfr.: Daikin - Model#: FTXV36AVJU9 - CFM: 900 - Incl. All Accessories | 1 | 0% | 1 | EA | 2850 | 1250 | 2850 | 1250 | 4100
97 |  | AC-2 | Air Conditioning Unit AC-2 - Mfr.: Daikin - Model#: FTXV36AVJU9 - CFM: 900 - Incl. All Accessories | 1 | 0% | 1 | EA | 2850 | 1250 | 2850 | 1250 | 4100
Air Handling Unit
98 | M401 | AC-1 | Air Handling Unit AHU-1 - Mfr.: Nortek Solutions - Model#: Custom - CFM: 45000 - Incl. All Accessories | 1 | 0% | 1 | EA | 185000 | 42500 | 185000 | 42500 | 227500
Exhaust Fan
99 | M401 | EF-1 | Exhaust Fan EF-1 - Mfr.: Greenheck - Model#: CUE-140HP-VG - Total Capacity: 0.75HP - Incl. All Accessories | 1 | 0% | 1 | EA | 3850 | 1450 | 3850 | 1450 | 5300
100 |  | EF-2 | Exhaust Fan EF-2 - Mfr.: Greenheck - Model#: CUE-100HP-VG - Total Capacity: 0.5HP - Incl. All Accessories | 1 | 0% | 1 | EA | 3250 | 1350 | 3250 | 1350 | 4600
101 |  | EF-3 | Exhaust Fan EF-3 - Mfr.: Greenheck - Model#: CUE-160XP-VG - Total Capacity: 1HP - Incl. All Accessories | 1 | 0% | 1 | EA | 4500 | 1650 | 4500 | 1650 | 6150
102 |  | EF-4 | Exhaust Fan EF-4 - Mfr.: Greenheck - Model#: FJ-12 - Total Capacity: 1HP - Incl. All Accessories | 1 | 0% | 1 | EA | 3950 | 1550 | 3950 | 1550 | 5500
Air Cooled Chiller
103 | M401 | CH-1 | Air Cooled Chiller CH-1 - Mfr.: Dalkin Applied - Model#: AGZ010F - Total Capacity: 1808400 - Incl. All Accessories | 1 | 0% | 1 | EA | 165000 | 32000 | 165000 | 32000 | 197000
104 |  | CH-2 | Air Cooled Chiller CH-2 - Mfr.: Dalkin Applied - Model#: AGZ010F - Total Capacity: 1808400 - Incl. All Accessories | 1 | 0% | 1 | EA | 165000 | 32000 | 165000 | 32000 | 197000
105 |  | CH-3 | Air Cooled Chiller CH-3 - Mfr.: Dalkin Applied - Model#: AGZ010F - Total Capacity: 1808400 - Incl. All Accessories | 1 | 0% | 1 | EA | 165000 | 32000 | 165000 | 32000 | 197000
Pump
106 | M401 | CHWP-1 | Chilled Water Pump CHWP-1 - Mfr.: Bell & Gossett - Model#: 3 EB - Capacity: 20 HP - Incl. All Accessories | 1 | 0% | 1 | EA | 11500 | 3500 | 11500 | 3500 | 15000
107 |  | CHWP-2 | Chilled Water Pump CHWP-2 - Mfr.: Bell & Gossett - Model#: 3 EB - Capacity: 20 HP - Incl. All Accessories | 1 | 0% | 1 | EA | 11500 | 3500 | 11500 | 3500 | 15000
108 |  | CHWP-3 | Chilled Water Pump CHWP-3 - Mfr.: Bell & Gossett - Model#: 3 EB - Capacity: 20 HP - Incl. All Accessories | 1 | 0% | 1 | EA | 11500 | 3500 | 11500 | 3500 | 15000
109 |  | HWP-1 | Heating Water Pump HWP-1 - Mfr.: Bell & Gossett - Model#: 2.5 BB - Capacity: 10 HP - Incl. All Accessories | 1 | 0% | 1 | EA | 7850 | 2850 | 7850 | 2850 | 10700
110 |  | HWP-2 | Heating Water Pump HWP-2 - Mfr.: Bell & Gossett - Model#: 2.5 BB - Capacity: 10 HP - Incl. All Accessories | 1 | 0% | 1 | EA | 7850 | 2850 | 7850 | 2850 | 10700
ET
111 | M401 | ET-1 | Expansion Tank ET-1 - Mfr.: Bell & Gossett - Model#: B-300 - Capacity: 264 Gallon - Incl. All Accessories | 1 | 0% | 1 | EA | 7500 | 2500 | 7500 | 2500 | 10000
112 |  | ET-2 | Expansion Tank ET-2 - Mfr.: Bell & Gossett - Model#: B-300 - Capacity: 264 Gallon - Incl. All Accessories | 1 | 0% | 1 | EA | 7500 | 2500 | 7500 | 2500 | 10000
Air Separator
113 | M401 |  | Air Separator AS-1 - Mfr.: Bell & Gossett - Model#: Rolairtrol-4F - GPM: 290 - Incl. All Accessories | 1 | 0% | 1 | EA | 6500 | 2250 | 6500 | 2250 | 8750
Misc. Equipment
114 | M401 |  | ATC Control Panel | 3 | 0% | 3 | EA | 4500 | 1750 | 13500 | 5250 | 18750
115 |  |  | Thermostat Control & Accessories | 4 | 0% | 4 | EA | 425 | 325 | 1700 | 1300 | 3000
Air Distribution Devices
116 | M401 |  | Misc. Air Distribution Items Incl. Diffuser, Register, Grill etc. - Detail/Schedule no Given | 1 | 0% | 1 | LS | 42500 | 28500 | 42500 | 28500 | 71000
HVAC Testing & Commissioning
117 | See Spec |  | HVAC Testing & Commissioning | 1 | 0% | 1 | LS | 2500 | 12500 | 2500 | 12500 | 15000
Hanging & Balancing
118 | See Spec |  | Hanging & Balancing | 1 | 0% | 1 | LS | 12500 | 18500 | 12500 | 18500 | 31000
Tagging & Signages
119 | See Spec |  | Tagging & Signages | 1 | 0% | 1 | LS | 850 | 850 | 850 | 850 | 1700
|  |  | Subtotal | [9 empty] | 2848359.512
|  |  | Subtotal | [9 empty] | 0
|  |  | Total Material Cost | [6 empty] | 2137086.1179
|  |  | Total Labor Cost | [7 empty] | 711273.3941
|  |  | TOTAL TRADE COST | [9 empty] | 2848359.512
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  | 142417.9756
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  | 284835.9512
|  |  | TAX (8.5%) | [7 empty] | 8.5% |  | 242110.5585
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  | 42725.3927
|  |  | TOTAL BASEBID | [9 empty] | 3560449.39