## DETAILED BREAKDOWN
Project Name: |  |  | Plumbing |  |  | Address:
[12 empty] | DATE | 2026-05-28
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | Units | Unit Cost of Material | Unit Cost of Labor | Total Cost of Material | Total Cost of Labor | TOTAL COST | TRADE TOTAL
|  | 1000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [9 empty] | 0
|  | 22 | DIVISION 22- PLUMBING
COMMUNITY CENTER
Sanitary Pipe
Material: - Above Grade & Below Grade Service Wight Cast Iron Pipe & Fitting - Building exceeding 3-Stories in Height Pipe shall be Use Schedule 40 ABS or PVC
7 | P100 |  | 4" Dia Sanitary Pipe | 65.8 | 5% | 69.09 | LF | 14 | 18 | 967.26 | 1243.62 | 2210.88
8 |  |  | 3" Dia Sanitary Pipe | 64.4 | 5% | 67.62 | LF | 10 | 16 | 676.2 | 1081.92 | 1758.12
9 |  |  | 2" Dia Sanitary Pipe | 29.4 | 5% | 30.87 | LF | 7 | 14 | 216.09 | 432.18 | 648.27
10 |  |  | 2" Dia Vent Pipe | 173.8 | 5% | 182.49 | LF | 7 | 13 | 1277.43 | 2372.37 | 3649.8
11 |  |  | 3" Dia Vent Through Roof | 1 | 0% | 1 | EA | 180 | 250 | 180 | 250 | 430
12 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 1100 | 900 | 1100 | 900 | 2000
Water Supply
Material: - Above & Below Grade Schedule 40 CPVC w/ Solvent Glued Joints
13 | P100 |  | 1" Dia Cold Water Pipe | 44.5 | 5% | 46.725 | LF | 4.5 | 7.5 | 210.2625 | 350.4375 | 560.7
14 |  |  | 3/4" Dia Cold Water Pipe | 29.4 | 5% | 30.87 | LF | 3.5 | 6.5 | 108.045 | 200.655 | 308.7
15 |  |  | 1/2" Dia Cold Water Pipe | 120.4 | 5% | 126.42 | LF | 2.75 | 5.5 | 347.655 | 695.31 | 1042.965
16 |  |  | 3/4" Dia Hot Water Pipe | 39.1 | 5% | 41.055 | LF | 3.5 | 6.5 | 143.6925 | 266.8575 | 410.55
17 |  |  | 1/2" Dia Hot Water Pipe | 83.1 | 5% | 87.255 | LF | 2.75 | 5.5 | 239.9512 | 479.9025 | 719.8537
18 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 700 | 600 | 700 | 600 | 1300
Pipe Insulation
Material: -Not Given, VIF
19 | P100 |  | Cold Water Pipe | 194.3 | 5% | 204.015 | LF | 1.75 | 1.5 | 357.0263 | 306.0225 | 663.0488
20 |  |  | Hot Water Pipe | 122.2 | 5% | 128.31 | LF | 2 | 1.5 | 256.62 | 192.465 | 449.085
Valve
21 | P100 |  | 3/4" Dia Shut-off Valve | 2 | 0% | 2 | EA | 35 | 40 | 70 | 80 | 150
22 |  |  | 1/2" Dia Shut-off Valve | 15 | 0% | 15 | EA | 22 | 30 | 330 | 450 | 780
Plumbing Fixtures
23 | P100 P002 |  | Washer Valve Box P-5 - Manufacturer: Top Supply - Model#: OB-351 / OBFS-2020 | 4 | 0% | 4 | EA | 85 | 90 | 340 | 360 | 700
24 |  |  | Washer Valve Box P-6 - Manufacturer: Top Supply - Model#: OB-807 / OBFS-8020 | 1 | 0% | 1 | EA | 110 | 90 | 110 | 90 | 200
25 |  |  | Water Closet P-7 - Manufacturer: American Standard - Model#: 221AA.104 - ADA Elongated -Vitreous | 2 | 0% | 2 | EA | 550 | 350 | 1100 | 700 | 1800
26 |  |  | Wall Hung Lavatory P-8 - Manufacturer: American Standard - Model#: 0355.012 - ADA Compliant -Faucet by CFG 47713L | 2 | 0% | 2 | EA | 450 | 300 | 900 | 600 | 1500
27 |  |  | 5.375"Deep Hole Double Compartment Kitchen Sink P-9 - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 1 | 0% | 1 | EA | 650 | 350 | 650 | 350 | 1000
28 |  |  | Water Cooler P-9 - Manufacturer: Elkay - Model#: EZSTUL8C - Stainless Steel -Faucet by CFG 47513B | 1 | 0% | 1 | EA | 1200 | 450 | 1200 | 450 | 1650
29 |  |  | Electric Water Heater HW-2 - Manufacturer: Electric - Model#:Pro E50 T2 - Glass Lined | 1 | 0% | 1 | EA | 1150 | 600 | 1150 | 600 | 1750
30 |  |  | Hose Bibb FPHB-2 - Manufacturer: Freez Proof Woodford - Model#:68 - Glass Lined | 2 | 0% | 2 | EA | 90 | 120 | 180 | 240 | 420
31 |  |  | 3" Floor Drain FD - Manufacturer: Zurn - Model#:FD-2340 - Cast Iron w/ SS Cover | 1 | 0% | 1 | EA | 250 | 250 | 250 | 250 | 500
32 |  |  | 4" Wall Cleanout WCO - Manufacturer: Zurn - Model#:CO2412 - Cast Iron w/ SS Cover | 1 | 0% | 1 | EA | 180 | 200 | 180 | 200 | 380
33 |  |  | 4" Grade Cleanout WCO - Manufacturer: Zurn - Model#:CO2413 - Cast Iron w/ SS Cover | 2 | 0% | 2 | EA | 200 | 250 | 400 | 500 | 900
34 |  |  | Lint Interceptor LI-1 - Manufacturer:Striem - Model#:PS-25-S - HDPE | 1 | 0% | 1 | EA | 1100 | 600 | 1100 | 600 | 1700
Signage And Tagging
35 | P100 |  | Misc. Plumbing Valve Sign & tag as required | 1 | 0% | 1 | LS | 150 | 150 | 150 | 150 | 300
Hanger And Supports
36 | P100 |  | Misc. Hangar, Supports, Inserts, Clamps etc. - Hanger, Rods, Beam Clamps etc. shall be shop zinc coated. | 1 | 0% | 1 | LS | 600 | 500 | 600 | 500 | 1100
Plumbing Testing
37 | P100 |  | Plumbing Pipe Testing | 1 | 0% | 1 | LS | 250 | 750 | 250 | 750 | 1000
|  |  | Subtotal (Community Center=1 EA) | [9 empty] | 31981.9725
BUILDING A
Sanitary Pipe
Material: - Above Grade & Below Grade Service Wight Cast Iron Pipe & Fitting - Building exceeding 3-Stories in Height Pipe shall be Use Schedule 40 ABS or PVC
38 | P100-P111 P410-P431 |  | 6" Dia Sanitary Pipe | 218 | 5% | 228.9 | LF | 24 | 28 | 5493.6 | 6409.2 | 11902.8
39 |  |  | 3" Dia Sanitary Pipe | 1054 | 5% | 1106.7 | LF | 10 | 16 | 11067 | 17707.2 | 28774.2
40 |  |  | 2" Dia Sanitary Pipe | 1406 | 5% | 1476.3 | LF | 7 | 14 | 10334.1 | 20668.2 | 31002.3
41 |  |  | 3" Dia Vent Pipe | 310 | 5% | 325.5 | LF | 9 | 14 | 2929.5 | 4557 | 7486.5
42 |  |  | 2" Dia Vent Pipe | 707 | 5% | 742.35 | LF | 7 | 13 | 5196.45 | 9650.55 | 14847
43 |  |  | 2" Dia Vent Through Roof | 8 | 0% | 8 | EA | 150 | 225 | 1200 | 1800 | 3000
44 |  |  | 3" Dia Vent Through Roof | 32 | 0% | 32 | EA | 180 | 250 | 5760 | 8000 | 13760
45 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 12500 | 10000 | 12500 | 10000 | 22500
Water Supply
Material: - Above & Below Grade Schedule 40 CPVC w/ Solvent Glued Joints
46 | P100-P111 P410-P431 |  | 2" Dia Cold Water Pipe | 133 | 5% | 139.65 | LF | 9 | 12 | 1256.85 | 1675.8 | 2932.65
47 |  |  | 1 1/2" Dia Cold Water Pipe | 162 | 5% | 170.1 | LF | 7 | 10 | 1190.7 | 1701 | 2891.7
48 |  |  | 1" Dia Cold Water Pipe | 160 | 5% | 168 | LF | 4.5 | 7.5 | 756 | 1260 | 2016
49 |  |  | 3/4" Dia Cold Water Pipe | 1026 | 5% | 1077.3 | LF | 3.5 | 6.5 | 3770.55 | 7002.45 | 10773
50 |  |  | 1/2" Dia Cold Water Pipe | 2998 | 5% | 3147.9 | LF | 2.75 | 5.5 | 8656.725 | 17313.45 | 25970.175
51 |  |  | 3/4" Dia Hot Water Pipe | 619 | 5% | 649.95 | LF | 3.5 | 6.5 | 2274.825 | 4224.675 | 6499.5
52 |  |  | 1/2" Dia Hot Water Pipe | 2728 | 5% | 2864.4 | LF | 2.75 | 5.5 | 7877.1 | 15754.2 | 23631.3
53 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 8500 | 7500 | 8500 | 7500 | 16000
Pipe Insulation
Material: -Not Given, VIF
54 | P110-P111 |  | Cold Water Pipe | 1481 | 5% | 1555.05 | LF | 1.75 | 1.5 | 2721.3375 | 2332.575 | 5053.9125
55 |  |  | Hot Water Pipe | 3347 | 5% | 3514.35 | LF | 2 | 1.5 | 7028.7 | 5271.525 | 12300.225
Valve
56 | P100-P111 P410-P431 |  | 1" Dia Shut-off Valve | 8 | 0% | 8 | EA | 55 | 60 | 440 | 480 | 920
57 |  |  | 3/4" Dia Shut-off Valve | 46 | 0% | 46 | EA | 35 | 40 | 1610 | 1840 | 3450
58 |  |  | 1/2" Dia Shut-off Valve | 328 | 0% | 328 | EA | 22 | 30 | 7216 | 9840 | 17056
59 |  |  | 3/4" Dia Vacuum Breaker | 46 | 0% | 46 | EA | 55 | 45 | 2530 | 2070 | 4600
60 |  |  | 3/4" Union | 138 | 0% | 138 | EA | 12 | 15 | 1656 | 2070 | 3726
61 |  |  | 3/4" Pressure & Temperature Relief Valve | 46 | 0% | 46 | EA | 55 | 50 | 2530 | 2300 | 4830
62 |  |  | 3/4" Check Valve | 46 | 0% | 46 | EA | 70 | 50 | 3220 | 2300 | 5520
63 |  |  | Expansion Tank | 46 | 0% | 46 | EA | 120 | 80 | 5520 | 3680 | 9200
Plumbing Fixtures
64 | P110-P111 P002 |  | Water Closet P-1 - Manufacturer: American Standard - Model#: 221CA.104 - Standard Elongated -Vitreous | 26 | 0% | 26 | EA | 425 | 275 | 11050 | 7150 | 18200
65 |  |  | Water Closet P-1A - Manufacturer: American Standard - Model#: 221AA.104 - ADA Standard Elongated -Vitreous | 20 | 0% | 20 | EA | 550 | 350 | 11000 | 7000 | 18000
66 |  |  | Single Compartment Lavatory P-2 - Manufacturer: American Standard - Model#: 0476.028 - ADA Ovel -Faucet by CFG 47711L | 46 | 0% | 46 | EA | 325 | 250 | 14950 | 11500 | 26450
67 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 2603SMT - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 26 | 0% | 26 | EA | 950 | 850 | 24700 | 22100 | 46800
68 |  |  | 60"x32" Prefab Bathtub Shower P-3A - Manufacturer: Florestone - Model#: 60-31HTS - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 16 | 0% | 16 | EA | 1050 | 900 | 16800 | 14400 | 31200
69 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 16037BFSD - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 4 | 0% | 4 | EA | 1150 | 950 | 4600 | 3800 | 8400
70 |  |  | 6.5"Deep Hole Double Compartment Kitchen Sink P-4 - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 2 | 0% | 2 | EA | 650 | 350 | 1300 | 700 | 2000
71 |  |  | 5.375"Deep Hole Double Compartment Kitchen Sink P-4A - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 22 | 0% | 22 | EA | 650 | 350 | 14300 | 7700 | 22000
72 |  |  | Washer Valve Box P-5 - Manufacturer: Top Supply - Model#: OB-351 / OBFS-2020 | 24 | 0% | 24 | EA | 85 | 90 | 2040 | 2160 | 4200
73 |  |  | Washer Valve Box P-6 - Manufacturer: Top Supply - Model#: OB-807 / OBFS-8020 | 24 | 0% | 24 | EA | 110 | 90 | 2640 | 2160 | 4800
74 |  |  | Electric Water Heater HW-1 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 2 | 0% | 2 | EA | 1050 | 600 | 2100 | 1200 | 3300
75 |  |  | Electric Water Heater HW-2 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 22 | 0% | 22 | EA | 1150 | 600 | 25300 | 13200 | 38500
76 |  |  | 4" Grade Cleanout WCO - Manufacturer: Zurn - Model#:CO2413 - Cast Iron w/ SS Cover | 2 | 0% | 2 | EA | 200 | 250 | 400 | 500 | 900
77 |  |  | Hub Drain HD | 24 | 0% | 24 | EA | 180 | 200 | 4320 | 4800 | 9120
Signage And Tagging
78 | P110-P111 |  | Misc. Plumbing Valve Sign & tag as required | 1 | 0% | 1 | LS | 750 | 750 | 750 | 750 | 1500
Hanger And Supports
79 | P110-P111 |  | Misc. Hangar, Supports, Inserts, Clamps etc. - Hanger, Rods, Beam Clamps etc. shall be shop zinc coated. | 1 | 0% | 1 | LS | 6500 | 5500 | 6500 | 5500 | 12000
Plumbing Testing
80 | P110-P111 |  | Plumbing Pipe Testing | 1 | 0% | 1 | LS | 1500 | 4500 | 1500 | 4500 | 6000
|  |  | Subtotal (Building A=1 EA) | [9 empty] | 544013.2625
BUILDING B
Sanitary Pipe
Material: - Above Grade & Below Grade Service Wight Cast Iron Pipe & Fitting - Building exceeding 3-Stories in Height Pipe shall be Use Schedule 40 ABS or PVC
81 | P120-P121 P410-P430 |  | 6" Dia Sanitary Pipe | 214 | 5% | 224.7 | LF | 24 | 28 | 5392.8 | 6291.6 | 11684.4
82 |  |  | 3" Dia Sanitary Pipe | 778.3 | 5% | 817.215 | LF | 10 | 16 | 8172.15 | 13075.44 | 21247.59
83 |  |  | 2" Dia Sanitary Pipe | 1134 | 5% | 1190.7 | LF | 7 | 14 | 8334.9 | 16669.8 | 25004.7
84 |  |  | 3" Dia Vent Pipe | 252 | 5% | 264.6 | LF | 9 | 14 | 2381.4 | 3704.4 | 6085.8
85 |  |  | 2" Dia Vent Pipe | 525 | 5% | 551.25 | LF | 7 | 13 | 3858.75 | 7166.25 | 11025
86 |  |  | 2" Dia Vent Through Roof | 12 | 0% | 12 | EA | 150 | 225 | 1800 | 2700 | 4500
87 |  |  | 3" Dia Vent Through Roof | 26 | 0% | 26 | EA | 180 | 250 | 4680 | 6500 | 11180
88 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 10000 | 8000 | 10000 | 8000 | 18000
Water Supply
Material: - Above & Below Grade Schedule 40 CPVC w/ Solvent Glued Joints
89 | P120-P121 P410-P430 |  | 2" Dia Cold Water Pipe | 46.4 | 5% | 48.72 | LF | 9 | 12 | 438.48 | 584.64 | 1023.12
90 |  |  | 1 1/2" Dia Cold Water Pipe | 112.1 | 5% | 117.705 | LF | 7 | 10 | 823.935 | 1177.05 | 2000.985
91 |  |  | 1 1/4" Dia Cold Water Pipe | 143.8 | 5% | 150.99 | LF | 6 | 9 | 905.94 | 1358.91 | 2264.85
92 |  |  | 1" Dia Cold Water Pipe | 120 | 5% | 126 | LF | 4.5 | 7.5 | 567 | 945 | 1512
93 |  |  | 3/4" Dia Cold Water Pipe | 1028 | 5% | 1079.4 | LF | 3.5 | 6.5 | 3777.9 | 7016.1 | 10794
94 |  |  | 1/2" Dia Cold Water Pipe | 2184.83 | 5% | 2294.0715 | LF | 2.75 | 5.5 | 6308.6966 | 12617.3933 | 18926.0899
95 |  |  | 3/4" Dia Hot Water Pipe | 279 | 5% | 292.95 | LF | 3.5 | 6.5 | 1025.325 | 1904.175 | 2929.5
96 |  |  | 1/2" Dia Hot Water Pipe | 2126 | 5% | 2232.3 | LF | 2.75 | 5.5 | 6138.825 | 12277.65 | 18416.475
97 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 7500 | 6500 | 7500 | 6500 | 14000
Pipe Insulation
| P120-P121 |  | Material: -Not Given, VIF
98 |  |  | Cold Water Pipe | 3635.13 | 5% | 3816.8865 | LF | 1.75 | 1.5 | 6679.5514 | 5725.3297 | 12404.8811
99 |  |  | Hot Water Pipe | 2405 | 5% | 2525.25 | LF | 2 | 1.5 | 5050.5 | 3787.875 | 8838.375
Valve
100 | P120-P121 P410-P430 |  | 1" Dia Shut-off Valve | 20 | 0% | 20 | EA | 55 | 60 | 1100 | 1200 | 2300
101 |  |  | 3/4" Dia Shut-off Valve | 32 | 0% | 32 | EA | 35 | 40 | 1120 | 1280 | 2400
102 |  |  | 1/2" Dia Shut-off Valve | 248 | 0% | 248 | EA | 22 | 30 | 5456 | 7440 | 12896
103 |  |  | 3/4" Dia Vacuum Breaker | 20 | 0% | 20 | EA | 55 | 45 | 1100 | 900 | 2000
104 |  |  | 3/4" Union | 60 | 0% | 60 | EA | 12 | 15 | 720 | 900 | 1620
105 |  |  | 3/4" Pressure & Temperature Relief Valve | 20 | 0% | 20 | EA | 55 | 50 | 1100 | 1000 | 2100
106 |  |  | 3/4" Check Valve | 20 | 0% | 20 | EA | 70 | 50 | 1400 | 1000 | 2400
107 |  |  | Expansion Tank | 20 | 0% | 20 | EA | 120 | 80 | 2400 | 1600 | 4000
Plumbing Fixtures
108 | P120-P121 P002 |  | Water Closet P-1 - Manufacturer: American Standard - Model#: 221CA.104 - Standard Elongated -Vitreous | 23 | 0% | 23 | EA | 425 | 275 | 9775 | 6325 | 16100
109 |  |  | Water Closet P-1A - Manufacturer: American Standard - Model#: 221AA.104 - ADA Standard Elongated -Vitreous | 9 | 0% | 9 | EA | 550 | 350 | 4950 | 3150 | 8100
110 |  |  | Single Compartment Lavatory P-2 - Manufacturer: American Standard - Model#: 0476.028 - ADA Ovel -Faucet by CFG 47711L | 32 | 0% | 32 | EA | 325 | 250 | 10400 | 8000 | 18400
111 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 2603SMT - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 23 | 0% | 23 | EA | 950 | 850 | 21850 | 19550 | 41400
112 |  |  | 60"x32" Prefab Bathtub Shower P-3A - Manufacturer: Florestone - Model#: 60-31HTS - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 2 | 0% | 2 | EA | 1050 | 900 | 2100 | 1800 | 3900
113 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 16037BFSD - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 7 | 0% | 7 | EA | 1150 | 950 | 8050 | 6650 | 14700
114 |  |  | 6.5"Deep Hole Double Compartment Kitchen Sink P-4 - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 9 | 0% | 9 | EA | 650 | 350 | 5850 | 3150 | 9000
115 |  |  | 5.375"Deep Hole Double Compartment Kitchen Sink P-4A - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 11 | 0% | 11 | EA | 650 | 350 | 7150 | 3850 | 11000
116 |  |  | Washer Valve Box P-5 - Manufacturer: Top Supply - Model#: OB-351 / OBFS-2020 | 20 | 0% | 20 | EA | 85 | 90 | 1700 | 1800 | 3500
117 |  |  | Washer Valve Box P-6 - Manufacturer: Top Supply - Model#: OB-807 / OBFS-8020 | 20 | 0% | 20 | EA | 110 | 90 | 2200 | 1800 | 4000
118 |  |  | Electric Water Heater HW-1 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 8 | 0% | 8 | EA | 1050 | 600 | 8400 | 4800 | 13200
119 |  |  | Electric Water Heater HW-2 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 12 | 0% | 12 | EA | 1150 | 600 | 13800 | 7200 | 21000
120 |  |  | 4" Grade Cleanout WCO - Manufacturer: Zurn - Model#:CO2413 - Cast Iron w/ SS Cover | 2 | 0% | 2 | EA | 200 | 250 | 400 | 500 | 900
121 |  |  | Hub Drain HD | 20 | 0% | 20 | EA | 180 | 200 | 3600 | 4000 | 7600
Signage And Tagging
122 | P120-P121 |  | Misc. Plumbing Valve Sign & tag as required | 1 | 0% | 1 | LS | 600 | 600 | 600 | 600 | 1200
Hanger And Supports
123 | P120-P121 |  | Misc. Hangar, Supports, Inserts, Clamps etc. - Hanger, Rods, Beam Clamps etc. shall be shop zinc coated. | 1 | 0% | 1 | LS | 5500 | 4500 | 5500 | 4500 | 10000
Plumbing Testing
124 | P120-P121 |  | Plumbing Pipe Testing | 1 | 0% | 1 | LS | 1250 | 3750 | 1250 | 3750 | 5000
|  |  | Subtotal (Building B=1 EA) | [9 empty] | 420553.766
BUILDING C
Sanitary Pipe
Material: - Above Grade & Below Grade Service Wight Cast Iron Pipe & Fitting - Building exceeding 3-Stories in Height Pipe shall be Use Schedule 40 ABS or PVC
125 | P130-P131 P410-P431 |  | 6" Dia Sanitary Pipe | 265 | 5% | 278.25 | LF | 24 | 28 | 6678 | 7791 | 14469
126 |  |  | 3" Dia Sanitary Pipe | 774 | 5% | 812.7 | LF | 10 | 16 | 8127 | 13003.2 | 21130.2
127 |  |  | 2" Dia Sanitary Pipe | 1019 | 5% | 1069.95 | LF | 7 | 14 | 7489.65 | 14979.3 | 22468.95
128 |  |  | 3" Dia Vent Pipe | 310 | 5% | 325.5 | LF | 9 | 14 | 2929.5 | 4557 | 7486.5
129 |  |  | 2" Dia Vent Pipe | 441 | 5% | 463.05 | LF | 7 | 13 | 3241.35 | 6019.65 | 9261
130 |  |  | 2" Dia Vent Through Roof | 16 | 0% | 16 | EA | 150 | 225 | 2400 | 3600 | 6000
131 |  |  | 3" Dia Vent Through Roof | 32 | 0% | 32 | EA | 180 | 250 | 5760 | 8000 | 13760
132 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 10500 | 8500 | 10500 | 8500 | 19000
Water Supply
Material: - Above & Below Grade Schedule 40 CPVC w/ Solvent Glued Joints
133 | P130-P131 P410-P431 |  | 2" Dia Cold Water Pipe | 44 | 5% | 46.2 | LF | 9 | 12 | 415.8 | 554.4 | 970.2
134 |  |  | 1 1/2" Dia Cold Water Pipe | 124 | 5% | 130.2 | LF | 7 | 10 | 911.4 | 1302 | 2213.4
135 |  |  | 1 1/4" Dia Cold Water Pipe | 178 | 5% | 186.9 | LF | 6 | 9 | 1121.4 | 1682.1 | 2803.5
136 |  |  | 1" Dia Cold Water Pipe | 80 | 5% | 84 | LF | 4.5 | 7.5 | 378 | 630 | 1008
137 |  |  | 3/4" Dia Cold Water Pipe | 1209 | 5% | 1269.45 | LF | 3.5 | 6.5 | 4443.075 | 8251.425 | 12694.5
138 |  |  | 1/2" Dia Cold Water Pipe | 1764 | 5% | 1852.2 | LF | 2.75 | 5.5 | 5093.55 | 10187.1 | 15280.65
139 |  |  | 3/4" Dia Hot Water Pipe | 247 | 5% | 259.35 | LF | 3.5 | 6.5 | 907.725 | 1685.775 | 2593.5
140 |  |  | 1/2" Dia Hot Water Pipe | 1934 | 5% | 2030.7 | LF | 2.75 | 5.5 | 5584.425 | 11168.85 | 16753.275
141 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 7000 | 6000 | 7000 | 6000 | 13000
Pipe Insulation
Material: -Not Given, VIF
142 | P130-P131 |  | Cold Water Pipe | 3399 | 5% | 3568.95 | LF | 1.75 | 1.5 | 6245.6625 | 5353.425 | 11599.0875
143 |  |  | Hot Water Pipe | 2181 | 5% | 2290.05 | LF | 2 | 1.5 | 4580.1 | 3435.075 | 8015.175
Valve
144 | P130-P131 P410-P431 |  | 1" Dia Shut-off Valve | 16 | 0% | 16 | EA | 55 | 60 | 880 | 960 | 1840
145 |  |  | 3/4" Dia Shut-off Valve | 64 | 0% | 64 | EA | 35 | 40 | 2240 | 2560 | 4800
146 |  |  | 1/2" Dia Shut-off Valve | 224 | 0% | 224 | EA | 22 | 30 | 4928 | 6720 | 11648
147 |  |  | 3/4" Dia Vacuum Breaker | 32 | 0% | 32 | EA | 55 | 45 | 1760 | 1440 | 3200
148 |  |  | 3/4" Union | 48 | 0% | 48 | EA | 12 | 15 | 576 | 720 | 1296
149 |  |  | 3/4" Pressure & Temperature Relief Valve | 16 | 0% | 16 | EA | 55 | 50 | 880 | 800 | 1680
150 |  |  | 3/4" Check Valve | 16 | 0% | 16 | EA | 70 | 50 | 1120 | 800 | 1920
151 |  |  | Expansion Tank | 16 | 0% | 16 | EA | 120 | 80 | 1920 | 1280 | 3200
Plumbing Fixtures
152 | P130-P131 P002 |  | Water Closet P-1 - Manufacturer: American Standard - Model#: 221CA.104 - Standard Elongated -Vitreous | 32 | 0% | 32 | EA | 425 | 275 | 13600 | 8800 | 22400
153 |  |  | Single Compartment Lavatory P-2 - Manufacturer: American Standard - Model#: 0476.028 - ADA Ovel -Faucet by CFG 47711L | 32 | 0% | 32 | EA | 325 | 250 | 10400 | 8000 | 18400
154 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 2603SMT - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 32 | 0% | 32 | EA | 950 | 850 | 30400 | 27200 | 57600
155 |  |  | 6.5"Deep Hole Double Compartment Kitchen Sink P-4 - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 16 | 0% | 16 | EA | 650 | 350 | 10400 | 5600 | 16000
156 |  |  | Washer Valve Box P-5 - Manufacturer: Top Supply - Model#: OB-351 / OBFS-2020 | 16 | 0% | 16 | EA | 85 | 90 | 1360 | 1440 | 2800
157 |  |  | Washer Valve Box P-6 - Manufacturer: Top Supply - Model#: OB-807 / OBFS-8020 | 16 | 0% | 16 | EA | 110 | 90 | 1760 | 1440 | 3200
158 |  |  | Electric Water Heater HW-2 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 16 | 0% | 16 | EA | 1150 | 600 | 18400 | 9600 | 28000
159 |  |  | 4" Grade Cleanout WCO - Manufacturer: Zurn - Model#:CO2413 - Cast Iron w/ SS Cover | 2 | 0% | 2 | EA | 200 | 250 | 400 | 500 | 900
160 |  |  | Hub Drain HD | 16 | 0% | 16 | EA | 180 | 200 | 2880 | 3200 | 6080
Signage And Tagging
161 | P130-P131 |  | Misc. Plumbing Valve Sign & tag as required | 1 | 0% | 1 | LS | 500 | 500 | 500 | 500 | 1000
Hanger And Supports
162 | P130-P131 |  | Misc. Hangar, Supports, Inserts, Clamps etc. - Hanger, Rods, Beam Clamps etc. shall be shop zinc coated. | 1 | 0% | 1 | LS | 5000 | 4000 | 5000 | 4000 | 9000
Plumbing Testing
163 | P130-P131 |  | Plumbing Pipe Testing | 1 | 0% | 1 | LS | 1250 | 3750 | 1250 | 3750 | 5000
|  |  | Subtotal (Building C=1 EA) | [9 empty] | 400470.9375
BUILDING D
Sanitary Pipe
Material: - Above Grade & Below Grade Service Wight Cast Iron Pipe & Fitting - Building exceeding 3-Stories in Height Pipe shall be Use Schedule 40 ABS or PVC
164 | P140-P141 P410-P431 |  | 6" Dia Sanitary Pipe | 200 | 5% | 210 | LF | 24 | 28 | 5040 | 5880 | 10920
165 |  |  | 3" Dia Sanitary Pipe | 1052 | 5% | 1104.6 | LF | 10 | 16 | 11046 | 17673.6 | 28719.6
166 |  |  | 2" Dia Sanitary Pipe | 1346 | 5% | 1413.3 | LF | 7 | 14 | 9893.1 | 19786.2 | 29679.3
167 |  |  | 3" Dia Vent Pipe | 271 | 5% | 284.55 | LF | 9 | 14 | 2560.95 | 3983.7 | 6544.65
168 |  |  | 2" Dia Vent Pipe | 558 | 5% | 585.9 | LF | 7 | 13 | 4101.3 | 7616.7 | 11718
169 |  |  | 2" Dia Vent Through Roof | 8 | 0% | 8 | EA | 150 | 225 | 1200 | 1800 | 3000
170 |  |  | 3" Dia Vent Through Roof | 28 | 0% | 28 | EA | 180 | 250 | 5040 | 7000 | 12040
171 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 11500 | 9500 | 11500 | 9500 | 21000
Water Supply
Material: - Above & Below Grade Schedule 40 CPVC w/ Solvent Glued Joints
172 | P140-P141 P410-P431 |  | 2" Dia Cold Water Pipe | 85 | 5% | 89.25 | LF | 9 | 12 | 803.25 | 1071 | 1874.25
173 |  |  | 1 1/2" Dia Cold Water Pipe | 235 | 5% | 246.75 | LF | 7 | 10 | 1727.25 | 2467.5 | 4194.75
174 |  |  | 1" Dia Cold Water Pipe | 160 | 5% | 168 | LF | 4.5 | 7.5 | 756 | 1260 | 2016
175 |  |  | 3/4" Dia Cold Water Pipe | 1329 | 5% | 1395.45 | LF | 3.5 | 6.5 | 4884.075 | 9070.425 | 13954.5
176 |  |  | 1/2" Dia Cold Water Pipe | 2509 | 5% | 2634.45 | LF | 2.75 | 5.5 | 7244.7375 | 14489.475 | 21734.2125
177 |  |  | 3/4" Dia Hot Water Pipe | 366 | 5% | 384.3 | LF | 3.5 | 6.5 | 1345.05 | 2497.95 | 3843
178 |  |  | 1/2" Dia Hot Water Pipe | 2535.5 | 5% | 2662.275 | LF | 2.75 | 5.5 | 7321.2563 | 14642.5125 | 21963.7688
179 |  |  | Misc. Pipe Fitting fixtures incl. - Bend, Elbow, Tee, Joints etc. | 1 | 0% | 1 | LS | 8000 | 7000 | 8000 | 7000 | 15000
Pipe Insulation
Material: -Not Given, VIF
180 | P140-P141 |  | Cold Water Pipe | 4318 | 5% | 4533.9 | LF | 1.75 | 1.5 | 7934.325 | 6800.85 | 14735.175
181 |  |  | Hot Water Pipe | 2901.5 | 5% | 3046.575 | LF | 2 | 1.5 | 6093.15 | 4569.8625 | 10663.0125
Valve
182 | P140-P141 P410-P431 |  | 1" Dia Shut-off Valve | 24 | 0% | 24 | EA | 55 | 60 | 1320 | 1440 | 2760
183 |  |  | 3/4" Dia Shut-off Valve | 66 | 0% | 66 | EA | 35 | 40 | 2310 | 2640 | 4950
184 |  |  | 1/2" Dia Shut-off Valve | 24 | 0% | 24 | EA | 22 | 30 | 528 | 720 | 1248
185 |  |  | 3/4" Dia Vacuum Breaker | 24 | 0% | 24 | EA | 55 | 45 | 1320 | 1080 | 2400
186 |  |  | 3/4" Union | 72 | 0% | 72 | EA | 12 | 15 | 864 | 1080 | 1944
187 |  |  | 3/4" Pressure & Temperature Relief Valve | 24 | 0% | 24 | EA | 55 | 50 | 1320 | 1200 | 2520
188 |  |  | 3/4" Check Valve | 24 | 0% | 24 | EA | 70 | 50 | 1680 | 1200 | 2880
189 |  |  | Expansion Tank | 24 | 0% | 24 | EA | 120 | 80 | 2880 | 1920 | 4800
Plumbing Fixtures
190 | P140-P141 P002 |  | Water Closet P-1 - Manufacturer: American Standard - Model#: 221CA.104 - Standard Elongated -Vitreous | 33 | 0% | 33 | EA | 425 | 275 | 14025 | 9075 | 23100
191 |  |  | Water Closet P-1A - Manufacturer: American Standard - Model#: 221AA.104 - ADA Standard Elongated -Vitreous | 3 | 0% | 3 | EA | 550 | 350 | 1650 | 1050 | 2700
192 |  |  | Single Compartment Lavatory P-2 - Manufacturer: American Standard - Model#: 0476.028 - ADA Ovel -Faucet by CFG 47711L | 37 | 0% | 37 | EA | 325 | 250 | 12025 | 9250 | 21275
193 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 2603SMT - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 34 | 0% | 34 | EA | 950 | 850 | 32300 | 28900 | 61200
194 |  |  | 60"x32" Prefab Bathtub Shower P-3A - Manufacturer: Florestone - Model#: 60-31HTS - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 1 | 0% | 1 | EA | 1050 | 900 | 1050 | 900 | 1950
195 |  |  | 60"x32" Prefab Bathtub Shower P-3 - Manufacturer: Aquatic - Model#: 16037BFSD - Fiberglass -Shower Head/Spout by CFG 40311C/45312 | 2 | 0% | 2 | EA | 1150 | 950 | 2300 | 1900 | 4200
196 |  |  | 6.5"Deep Hole Double Compartment Kitchen Sink P-4 - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 21 | 0% | 21 | EA | 650 | 350 | 13650 | 7350 | 21000
197 |  |  | 5.375"Deep Hole Double Compartment Kitchen Sink P-4A - Manufacturer: Dayton - Model#: GE233214 - Stainless Steel -Faucet by CFG 47513B | 3 | 0% | 3 | EA | 650 | 350 | 1950 | 1050 | 3000
198 |  |  | Washer Valve Box P-5 - Manufacturer: Top Supply - Model#: OB-351 / OBFS-2020 | 24 | 0% | 24 | EA | 85 | 90 | 2040 | 2160 | 4200
199 |  |  | Washer Valve Box P-6 - Manufacturer: Top Supply - Model#: OB-807 / OBFS-8020 | 24 | 0% | 24 | EA | 110 | 90 | 2640 | 2160 | 4800
200 |  |  | Electric Water Heater HW-1 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 11 | 0% | 11 | EA | 1050 | 600 | 11550 | 6600 | 18150
201 |  |  | Electric Water Heater HW-2 - Manufacturer: Rheem - Model#: Pro E50 S2 - Glass Lined | 13 | 0% | 13 | EA | 1150 | 600 | 14950 | 7800 | 22750
202 |  |  | 4" Grade Cleanout WCO - Manufacturer: Zurn - Model#:CO2413 - Cast Iron w/ SS Cover | 2 | 0% | 2 | EA | 200 | 250 | 400 | 500 | 900
203 |  |  | Hub Drain HD | 24 | 0% | 24 | EA | 180 | 200 | 4320 | 4800 | 9120
Signage And Tagging
204 | P140-P141 |  | Misc. Plumbing Valve Sign & tag as required | 1 | 0% | 1 | LS | 600 | 600 | 600 | 600 | 1200
Hanger And Supports
205 | P140-P141 |  | Misc. Hangar, Supports, Inserts, Clamps etc. - Hanger, Rods, Beam Clamps etc. shall be shop zinc coated. | 1 | 0% | 1 | LS | 6000 | 5000 | 6000 | 5000 | 11000
Plumbing Testing
206 | P140-P141 |  | Plumbing Pipe Testing | 1 | 0% | 1 | LS | 1500 | 4000 | 1500 | 4000 | 5500
|  |  | Subtotal (Building D=1 EA) | [9 empty] | 473147.2188
|  |  | Total Material Cost | [6 empty] | 915155.9043
|  |  | Total Labor Cost | [7 empty] | 955011.253
|  |  | TOTAL TRADE COST | [9 empty] | 1870167.1572
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  | 93508.3579
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  | 187016.7157
|  |  | TAX (8.5%) | [7 empty] | 8.5% |  | 158964.2084
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  | 28052.5074
|  |  | TOTAL BASEBID | [9 empty] | 2337708.9466

## Summary
GENERAL SUMMARY
Project Name | Plumbing
Project Address | 0
Date: | 2026-05-28
|  | Overall SF | Cost per SF
|  | 104262 | 22.4215
Total Area |  |  | 104262
Community Center | 2114 | No. of Floors: | 1
Building A | 29620 | No. of Floors: | 3
Building B | 23736 | No. of Floors: | 3
Building C | 22076 | No. of Floors: | 2
Building D | 26716 | No. of Floors: | 3
Total Building Area | 104262
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | COST/ SF
1000 | General Requirements | 0 | 0
22000 | Plumbing
| Community Center | 31981.9725 | 1426.3984
| Building A | 544013.2625 | 24263.0336
| Building B | 420553.766 | 18756.7305
| Building C | 400470.9375 | 17861.0348
| Building D | 473147.2188 | 21102.4026
TOTAL TRADE COST |  | 1870167.1572 | 83409.6
CONTINGENCY | 5% | 93508.3579 | 4170.48
OVERHEAD & PROFIT | 10% | 187016.7157 | 8340.96
TAX | 8.5% | 158964.2084 | 7089.816
PERFROMANCE & PAYMENT BOND | 1.5% | 28052.5074 | 1251.144
TOTAL TRADE COST |  | 2337708.9466 | 104262