## DETAILED BREAKDOWN
Project Name: |  |  | Sitework |  |  | Address:
[12 empty] | DATE | 2026-04-29
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | Units | Unit Cost of Material | Unit Cost of Labor | Total Cost of Material | Total Cost of Labor | TOTAL COST | TRADE TOTAL
|  | 1000 | GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [9 empty] | 0
EARTHWORK
Clearing & Grubbing
6 | C030 |  | Clearing & Grubbing | 42095 | 5% | 44199.75 | SF | 0.2 | 0.7 | 8839.95 | 30939.825 | 39779.775
Grading/Trenching/Excavation
Trenching/Excavation
7 | C120 C150 |  | Trenching for Pipe | 1342 | 5% | 1409.1 | CY | 3.5 | 9.5 | 4931.85 | 13386.45 | 18318.3
8 |  |  | Excavation for Drainage/Utilities Structures | 1581 | 5% | 1660.05 | CY | 4 | 11 | 6640.2 | 18260.55 | 24900.75
9 |  |  | Backfilling | 1653 | 5% | 1735.65 | CY | 5.5 | 8.5 | 9546.075 | 14753.025 | 24299.1
Grading
10 | C110 |  | Mild Grading | 1775 | 5% | 1863.75 | SF | 0.15 | 0.45 | 279.5625 | 838.6875 | 1118.25
11 |  |  | Fill | 1672.3259 | 5% | 1755.9422 | CY | 6 | 10 | 10535.6533 | 17559.4222 | 28095.0756
Note: Earthwork Qty is Approximate, VIF
|  |  | Subtotal | [9 empty] | 136511.2506
SITE WORK
Demolition
12 | C031 |  | Remove existing Tree | 1 | 0% | 1 | EA | 150 | 450 | 150 | 450 | 600
13 |  |  | Remove existing Area Inlet | 1 | 0% | 1 | EA | 200 | 600 | 200 | 600 | 800
14 |  |  | Remove existing Curb - Concrete Sawcut= 5 LF | 106 | 5% | 111.3 | LF | 3 | 12 | 333.9 | 1335.6 | 1669.5
15 |  |  | Remove existing Fence | 138 | 5% | 144.9 | LF | 2.5 | 8.5 | 362.25 | 1231.65 | 1593.9
Erosion & Sediments Control
16 | C140-C141 |  | Construction Entrance | 1160 | 0% | 1160 | SF | 1.75 | 2.25 | 2030 | 2610 | 4640
17 |  |  | Rock Berm | 15 | 5% | 15.75 | LF | 12 | 18 | 189 | 283.5 | 472.5
18 |  |  | Concrete Washout | 1 | 5% | 1.05 | LOC | 300 | 500 | 315 | 525 | 840
19 |  |  | Inlet Protection | 3 | 5% | 3.15 | LF | 25 | 35 | 78.75 | 110.25 | 189
20 |  |  | Silt Fence | 666 | 5% | 699.3 | LF | 1.5 | 4.5 | 1048.95 | 3146.85 | 4195.8
21 |  |  | Erosion Blanket | 280 | 5% | 294 | SF | 0.8 | 1.2 | 235.2 | 352.8 | 588
Site
Misc. Concrete
22 |  |  | 18"Dia x 6'0"H Concrete Base for Light Pole (2.5 CY) - Excavation as required | 6 | 0% | 6 | EA | 450 | 850 | 2700 | 5100 | 7800
22 | C100 C130A |  | Concrete Pad - Compacted Base | 280 | 5% | 294 | SF | 3 | 5.5 | 882 | 1617 | 2499
23 |  |  | Remove, regraded Bae & Replace Concrete Pavement - Concrete Sawcut= 35LF | 160 | 5% | 168 | SF | 4.5 | 9.5 | 756 | 1596 | 2352
24 |  |  | Riprap Gravel/Stone - Detail not given, VIF | 195 | 5% | 204.75 | SF | 6.5 | 5.5 | 1330.875 | 1126.125 | 2457
3'0"W Sidewalk
25 |  |  | Compacted Grade | 312 | 5% | 327.6 | SF | 0.25 | 0.45 | 81.9 | 147.42 | 229.32
26 |  |  | 2" Gravel Crush Rock | 312 | 5% | 327.6 | SF | 1.2 | 1.8 | 393.12 | 589.68 | 982.8
27 |  |  | 4" Class A Concrete (4 CY) | 312 | 5% | 327.6 | SF | 4.5 | 6.5 | 1474.2 | 2129.4 | 3603.6
28 |  |  | 6"x6" W5.5xW5.5 WWM | 312 | 5% | 327.6 | SF | 0.9 | 0.75 | 294.84 | 245.7 | 540.54
5'0"W Sidewalk
29 |  |  | Compacted Grade | 1455 | 5% | 1527.75 | SF | 0.25 | 0.45 | 381.9375 | 687.4875 | 1069.425
30 |  |  | 2" Gravel Crush Rock | 1455 | 5% | 1527.75 | SF | 1.2 | 1.8 | 1833.3 | 2749.95 | 4583.25
31 |  |  | 4" Class A Concrete (18.5 CY) | 1455 | 5% | 1527.75 | SF | 4.5 | 6.5 | 6874.875 | 9930.375 | 16805.25
Concrete Pavement
32 |  |  | Compacted Grade | 22632 | 5% | 23763.6 | SF | 0.2 | 0.4 | 4752.72 | 9505.44 | 14258.16
33 |  |  | 6" Aggregate Base | 22632 | 5% | 23763.6 | SF | 1.8 | 2.2 | 42774.48 | 52279.92 | 95054.4
34 |  |  | 6" PCC Concrete (419.2 CY) - Incl. #3 Deformed Bar @ 16" O.C Approx.= 1225 LF | 22632 | 5% | 23763.6 | SF | 6.5 | 8.5 | 154463.4 | 201990.6 | 356454
35 |  |  | 6"x6" Monolithic Concrete Curb (13.3 CY) | 1237 | 5% | 1298.85 | LF | 12 | 18 | 15586.2 | 23379.3 | 38965.5
Concrete Dumpster Pad
36 |  |  | Compacted Grade | 165 | 5% | 173.25 | SF | 0.25 | 0.45 | 43.3125 | 77.9625 | 121.275
37 |  |  | 6" Aggregate Base | 165 | 5% | 173.25 | SF | 1.8 | 2.2 | 311.85 | 381.15 | 693
38 |  |  | 6" PCC Concrete (3.1 CY) - Incl. #3 Deformed Bar @ 16" O.C Approx.= 125 LF | 165 | 5% | 173.25 | SF | 6.5 | 8.5 | 1126.125 | 1472.625 | 2598.75
Site Bollard
39 |  |  | 4" Diax6'6"L Schedule 80 Steel Pipe Bollard (Painted) | 59 | 0% | 59 | EA | 180 | 220 | 10620 | 12980 | 23600
40 |  |  | 5" Diax3'6"L Schedule 80 PVC Pipe Sleeve w/ Cement end Cap | 59 | 0% | 59 | EA | 45 | 65 | 2655 | 3835 | 6490
41 |  |  | 2 Layer 15# Felt around Sleeves | 324.3702 | 5% | 340.5887 | SF | 1.2 | 1.5 | 408.7065 | 510.8831 | 919.5895
42 |  |  | 24"Diax3'6"H (4000PSI) Concrete Base | 24.0274 | 5% | 25.2288 | CY | 180 | 220 | 4541.1828 | 5550.3345 | 10091.5173
Misc. Site Furnishing
43 |  |  | 6'0"L Precast Concrete Wheel Stop - 2#4 @ 14" Long Bars | 8 | 0% | 8 | EA | 120 | 150 | 960 | 1200 | 2160
44 |  |  | Flag Pole w/ Footing Base | 1 | 0% | 1 | EA | 2500 | 3500 | 2500 | 3500 | 6000
Traffic Control Devices/Symbol/Signages
45 | C100 |  | International ADA Parking Symbol | 2 | 0% | 2 | EA | 180 | 220 | 360 | 440 | 800
46 |  |  | ADA Parking on Bollards | 2 | 0% | 2 | EA | 75 | 125 | 150 | 250 | 400
47 |  |  | 4"W Painted Parking Strips | 721 | 5% | 757.05 | LF | 0.6 | 1.4 | 454.23 | 1059.87 | 1514.1
48 |  |  | Painted Directional Arrow | 10 | 0% | 10 | EA | 45 | 85 | 450 | 850 | 1300
49 |  |  | No Parking Sign | 2 | 0% | 2 | EA | 90 | 110 | 180 | 220 | 400
Landscape
| L110 |  | Tree
50 |  |  | Needlepoint Holy | 31 | 0% | 31 | EA | 85 | 65 | 2635 | 2015 | 4650
51 |  |  | Red Crepe Myrtle | 6 | 0% | 6 | EA | 180 | 120 | 1080 | 720 | 1800
52 |  |  | Live Oak | 7 | 0% | 7 | EA | 450 | 250 | 3150 | 1750 | 4900
53 |  |  | Cedar Elm | 3 | 0% | 3 | EA | 400 | 225 | 1200 | 675 | 1875
Ground Covers
54 | L110 |  | Tiftuf Bermuda (SOD) | 8050 | 5% | 8452.5 | SF | 0.55 | 0.65 | 4648.875 | 5494.125 | 10143
55 |  |  | Washed Granite Gravel, 1" Minus, 3" Deep Compacted & Placed over Permeable Weed-Barrier Fabric. Locally Sourced | 1075 | 5% | 1128.75 | SF | 2.75 | 2.25 | 3104.0625 | 2539.6875 | 5643.75
|  |  | Subtotal | [9 empty] | 649342.9269
UTILITIES & DRAINAGE
Drainage
| C120 |  | Storm Sewer
56 |  |  | 18" Dia HDPE Pipe | 77 | 5% | 80.85 | LF | 22 | 18 | 1778.7 | 1455.3 | 3234
57 |  |  | 12" Dia HDPE Pipe | 198 | 5% | 207.9 | LF | 14 | 16 | 2910.6 | 3326.4 | 6237
58 |  |  | 45 Degree 12"Dia HDPE Bend | 3 | 0% | 3 | EA | 95 | 85 | 285 | 255 | 540
59 |  |  | 22.5 Degree 12"Dia HDPE Bend | 1 | 0% | 1 | EA | 75 | 65 | 75 | 65 | 140
60 |  |  | 12"Dia HDPE Pipe Connection to existing Junction Box | 1 | 0% | 1 | LOC | 250 | 450 | 250 | 450 | 700
61 |  |  | 6'0"Dia Precast Concrete Storm Sewer Manhole w/ Cover and Rim | 1 | 0% | 1 | EA | 2800 | 3200 | 2800 | 3200 | 6000
62 |  |  | 3'6"x3'6"x3'0"H Catch Basin Inlet w/ Cast iron Curb Neenah Model#R-307-6B | 1 | 0% | 1 | EA | 2200 | 2800 | 2200 | 2800 | 5000
63 |  |  | 3'0"x3'0"x4'0"H Precast Concrete Area Inlet w/ Grate & Frame | 1 | 0% | 1 | EA | 1800 | 2400 | 1800 | 2400 | 4200
| C120 |  | S.D Bubbler Box
64 |  |  | 6'0"Dia x4'0"H RCC Class III Pipe | 1 | 0% | 1 | EA | 1500 | 2000 | 1500 | 2000 | 3500
65 |  |  | 1 1/2" - 3" Washed Gravel | 2.9089 | 0% | 2.9089 | CY | 55 | 45 | 159.9889 | 130.9 | 290.8889
66 |  |  | Mirafi 140N Liner Wrap | 111.394 | 5% | 116.9637 | SF | 1.2 | 1.3 | 140.3564 | 152.0528 | 292.4093
67 |  |  | Neenah R-6136 Grate & Frame w/ Type E Locking Device | 1 | 0% | 1 | EA | 650 | 350 | 650 | 350 | 1000
| C120 |  | Underground Xfiltration System
68 |  |  | 66"Dia x16GA Corrugated Metal Pipe | 322 | 5% | 338.1 | LF | 85 | 55 | 28738.5 | 18595.5 | 47334
69 |  |  | 2 2/"x1/2" Corrugated 16GA Riser/Stub Pipe (2 LOC) - Cover w/ Rim | 10 | 5% | 10.5 | LF | 45 | 35 | 472.5 | 367.5 | 840
70 |  |  | Geotextile Envelop | 5485 | 5% | 5759.25 | SF | 1.1 | 1.4 | 6335.175 | 8062.95 | 14398.125
Utilities
| C150 |  | Water Supply
71 |  |  | 2" Aquapex Water Service | 221 | 5% | 232.05 | LF | 8.5 | 12.5 | 1972.425 | 2900.625 | 4873.05
72 |  |  | 2" Water meter w/ Box - Concrete Pad & Gravel Base | 1 | 0% | 1 | EA | 850 | 1150 | 850 | 1150 | 2000
73 |  |  | 2" Backflow Preventor w/ Concrete Pad, Box enclosure | 2 | 0% | 2 | EA | 1200 | 1300 | 2400 | 2600 | 5000
Sewerage
74 | C150 |  | 6" PVC SDR-26 Sanitary Sewer Line | 215 | 5% | 225.75 | LF | 9.5 | 14.5 | 2144.625 | 3273.375 | 5418
75 |  |  | 4" PVC SDR-26 Sanitary Sewer Line | 91 | 5% | 95.55 | LF | 7.5 | 13 | 716.625 | 1242.15 | 1958.775
76 |  |  | 6" Sanitary Sewer Cleanout | 4 | 0% | 4 | EA | 180 | 220 | 720 | 880 | 1600
77 |  |  | 4" Sanitary Sewer Cleanout | 2 | 0% | 2 | EA | 140 | 180 | 280 | 360 | 640
78 |  |  | 4"x6"x6" Sanitary Sewer Wye Connection | 1 | 0% | 1 | EA | 120 | 180 | 120 | 180 | 300
79 |  |  | 6"x6"x6" Sanitary Sewer Wye Connection | 1 | 0% | 1 | EA | 150 | 200 | 150 | 200 | 350
80 |  |  | 4"x4"x4" Sanitary Sewer Wye Connection | 1 | 0% | 1 | EA | 100 | 150 | 100 | 150 | 250
81 |  |  | 6"Dia PVC pipe for Sample Well (5'0"Long) | 1 | 0% | 1 | EA | 250 | 350 | 250 | 350 | 600
82 |  |  | 6'0"Dia Precast Concrete Sanitary Sewer Manhole w/ Cover and Rim | 1 | 0% | 1 | EA | 2800 | 3200 | 2800 | 3200 | 6000
Reclaim Tank Sewer
83 | C150 |  | Reclaim Tank System B - Manufacturer: Striem; Model: RT-6000 - Capacity: 6000 Gallon - Tank: 6EA | 1 | 0% | 1 | EA | 18000 | 7000 | 18000 | 7000 | 25000
Oil/Water Separator
84 | C150 |  | Oil/Water Separator - Manufacturer: Striem; Model: OS-500 - Capacity: 500 Gallon for Liquid & 125 Gallon for Oil - Tank: 6EA | 1 | 0% | 1 | EA | 12000 | 5000 | 12000 | 5000 | 17000
Irrigation
| L110 |  | Pipes
85 |  |  | 3/4"Dia Lateral Line: PVC Class 200 | 2107 | 5% | 2212.35 | LF | 0.85 | 1.75 | 1880.4975 | 3871.6125 | 5752.11
86 |  |  | 1 1/4"Dia Lateral Line: Schedule 40 PVC | 147 | 5% | 154.35 | LF | 2.25 | 2.75 | 347.2875 | 424.4625 | 771.75
86 |  |  | 1"Dia Lateral Line: Schedule 40 PVC | 11 | 5% | 11.55 | LF | 1.75 | 2.5 | 20.2125 | 28.875 | 49.0875
87 |  |  | 1 1/2"Dia Lateral Line: Schedule 40 PVC | 20 | 5% | 21 | LF | 3 | 3.5 | 63 | 73.5 | 136.5
88 |  |  | PVC Class 315 for sizes 2" and greater. Schedule 40 PVC for sizes under 2". | 429.8 | 5% | 451.29 | LF | 4.5 | 4 | 2030.805 | 1805.16 | 3835.965
89 |  |  | Pipe Sleeve: Sch 80 PVC at vehicular paving. Sch 40 PVC everywhere else. Sleeve to be 2 times the outside diameter of pipe to be sleeved | 214.8 | 5% | 225.54 | LF | 3.25 | 3.75 | 733.005 | 845.775 | 1578.78
90 |  |  | Netafim TLCV-06-12 | 301.1 | 5% | 316.155 | LF | 1.1 | 1.4 | 347.7705 | 442.617 | 790.3875
Connection
91 | L110 |  | Rain Bird 1806-SAM-PRS 08H | 18 | 0% | 18 | EA | 18 | 22 | 324 | 396 | 720
92 |  |  | Rain Bird 1806-SAM-PRS 08Q | 6 | 0% | 6 | EA | 18 | 22 | 108 | 132 | 240
93 |  |  | Rain Bird 1806-SAM-PRS TOH | 6 | 0% | 6 | EA | 20 | 24 | 120 | 144 | 264
94 |  |  | Rain Bird 1806-SAM-PRS IOQ | 2 | 0% | 2 | EA | 20 | 24 | 40 | 48 | 88
95 |  |  | Rain Bird 1806-SAM-PRS 12H | 2 | 0% | 2 | EA | 22 | 26 | 44 | 52 | 96
96 |  |  | Rain Bird 1806-SAM-PRS 12Q | 2 | 0% | 2 | EA | 22 | 26 | 44 | 52 | 96
97 |  |  | Rain Bird R-VAN-STRIP 1806-SAM-P45 LCS | 2 | 0% | 2 | EA | 28 | 22 | 56 | 44 | 100
98 |  |  | Rain Bird R-VAN-STRIP 1806-SAM-P45 RCS | 2 | 0% | 2 | EA | 28 | 22 | 56 | 44 | 100
99 |  |  | Rain Bird R-VAN14 1806-SAM-P45 RV-14 | 31 | 0% | 31 | EA | 26 | 24 | 806 | 744 | 1550
100 |  |  | Rain Bird R-VAN14 1806-SAM-P45 RV-14F | 4 | 0% | 4 | EA | 28 | 24 | 112 | 96 | 208
101 |  |  | Rain Bird R-VAN18 1806-SAM-P45 RV-18 | 16 | 5% | 16.8 | SF | 30 | 26 | 504 | 436.8 | 940.8
102 |  |  | Rain Bird R-VAN24 1806-SAM-P45 RV-24 | 21 | 0% | 21 | EA | 32 | 26 | 672 | 546 | 1218
103 |  |  | Symbol denotes two Rain Bird 1804-1400 Flood 1402 | 16 | 0% | 16 | EA | 35 | 28 | 560 | 448 | 1008
104 |  |  | Rein Bird XCZ-100-LC | 1 | 0% | 1 | EA | 180 | 120 | 180 | 120 | 300
105 |  |  | Pipe Transition Point above grade | 3 | 0% | 3 | EA | 25 | 45 | 75 | 135 | 210
106 |  |  | Rain Bird PEB Remote Control Valve | 5 | 0% | 5 | EA | 140 | 160 | 700 | 800 | 1500
107 |  |  | Watts/SC8-1 1/2" size, Brass Quick Coupler Valve | 3 | 0% | 3 | EA | 95 | 105 | 285 | 315 | 600
108 |  |  | Landscape Products Brass Ball Valve | 1 | 0% | 1 | EA | 75 | 85 | 75 | 85 | 160
109 |  |  | Rain Bird PEB 1-1/2" Master Valve | 1 | 0% | 1 | EA | 180 | 140 | 180 | 140 | 320
110 |  |  | Febco 765 1" Pressure Vacuum Breaker | 1 | 0% | 1 | EA | 220 | 180 | 220 | 180 | 400
111 |  |  | Rain Bird ESP4ME3 with (1) ESP-SM3 Controller | 1 | 0% | 1 | EA | 650 | 350 | 650 | 350 | 1000
112 |  |  | Rain Bird RSD-BEX Rain Sensor | 1 | 0% | 1 | EA | 120 | 80 | 120 | 80 | 200
113 |  |  | Rain Bird FS-100-P Flow Sensor | 1 | 0% | 1 | EA | 280 | 120 | 280 | 120 | 400
114 |  |  | 1" Water meter w/ Box - Concrete Pad & Gravel Base | 1 | 0% | 1 | EA | 650 | 850 | 650 | 850 | 1500
|  |  | Subtotal | [9 empty] | 190829.6281
|  |  | Total Material Cost | [6 empty] | 425757.6059
|  |  | Total Labor Cost | [7 empty] | 550926.1996
|  |  | TOTAL TRADE COST | [9 empty] | 976683.8055
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  | 48834.1903
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  | 97668.3806
|  |  | TAX (8.5%) | [7 empty] | 8.5% |  | 83018.1235
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  | 14650.2571
|  |  | TOTAL BASEBID | [9 empty] | 1220854.7569

## Summary
GENERAL SUMMARY
Project Name | Sitework
Project Address | 0
Date: | 2026-04-29
|  | Overall SF | Cost per SF
|  | 42095 | 29.0024
Total Area |  |  | 42095
Total Building Area (SF) | 42095 | No. of Floors: | 3
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | COST/ SF
1000 | GENERAL REQUIREMENTS | 0 | 0
2000 | EARTHWORK | 136511.2506 | 4706.8999
2000 | SITE WORK | 649342.9269 | 22389.3058
2000 | UTILITIES & DRAINAGE | 190829.6281 | 6579.7943
TOTAL TRADE COST |  | 976683.8055 | 33676
CONTINGENCY | 5% | 48834.1903 | 1683.8
OVERHEAD & PROFIT | 10% | 97668.3806 | 3367.6
TAX | 8.5% | 83018.1235 | 2862.46
PERFROMANCE & PAYMENT BOND | 1.5% | 14650.2571 | 505.14
TOTAL TRADE COST |  | 1220854.7569 | 42095